Monitoring of  drinking  water quality in Baghdad city  by using polymerase chain reaction(PCR)

امنة نعمة الثويني            اشواق باسم جاسم

معهد الهندسة الوراثية والتقنيات الاحيائية

احسان مهدي الصقر

وحدة الابحاث البايلوجية

Abstract:

The monitoring of water Iraq quality with regard to detection of microbial contamination, mainly depend on time consuming conventional culture methods. Therefore to ensure continuous good water quality supply, sensitive and good detection methods are important to be available always, specifically polymerase chain reaction (PCR), for direct quick, sensitive and accurate detection for the presence of microbial pathogens  in drinking  water directly without the need for culturing and isolating the pathogens. 300 water sample were taken from different regions in Baghdad city (270)samples were positive for the fecal and total coliform with routine diagnosis methods, in the same time (200) sample were positive for E.coli   The PCR amplification assay detected the presence of bacteria in  (250) out of 300  water samples depending on the  Uid, LacZ genes. Twenty(20) out (300) water samples showed a positive result for the MF and negative result for PCR using primer pair specific for the genus TC and E.coli .

الخلاصة

تعتمد مراقبة نوعية مياه الشرب في العراق بصورة اساسية على الطرق التقليدية القديمة والتي تجري باستخدام الاوساط الزرعية وطرائق التشخيص البدائية.لذا دعت الضرورة الى اللجوء الى الطرائق الجيدة والحساسة للمراقبة  مؤشرات التلوث . طبقت الدراسة الحالية تقنيات الهندسة الوراثية وخاصة سلسلة التفاعل المتبلمرة,في مراقبة مؤشرات التلوث سيما للمياه المجهزة للمنازل في بعض مناطق بغداد.وهي طريقة حديثة من حيث التطبيق وسريعة ودقيقة من حيث الوقت والجهد اللازم للانجاز.دون الحاجة الماسة الى زرع عينات الماء لفترات طويلة لاجل العزل والتشخيص. تم جمع 300 عينة ماء شرب من مختلف مناطق بغداد (270) عينة منها كان موجبا لوجود بكتريا  الكوليفورم الكلية  والبرازية,في نفس الوقت 200 عينة كانت موجبة لبكتريا الايشريشيا القولونية . اكدت الدراسة وجود 250 عينة ماء موجبة للفحص بطريقة السلسلة المتبلمرة من مجموع 300 عينة ماء شرب, 20  منها موجبة بطريقة تخمر الانابيب وسالبة بطريقة السلسلة المتبلمرة.

INTRODUGTION:-

Three major groups, viruses, bacteria and protozoa known to cause widespread waterborne diseases worldwide ,They transmitted  through many routes in the water environment and water supply (WHO ,2006) . Bacteria are major microbial group responsible for waterborne disease outbreaks ( Roy et al.,2006) had indicated in their study that there were many kinds of bacteria that can be recognized in water resources, many of which are enteric in origin (Shigella spp. ,Vibrio cholera, Campylobacter jejuni, Escherichia coli, Salmonella , E. coli, Aeromonas spp., Pseudomonas spp., Protus, Enterobacter, and finally group of coliform. Coliform bacteria are commonly used as indicators for the presence of pathogenic bacteria  such as Salmonella, Aeromonas spp., V.cholera and others( Ashbolt , 2004) . Detection and isolation of coliform bacteria requires cultivation on simple liquid media and this need 24 to 72 hours , which it means time consuming and the reliable result well be  available  but the  pathogens might have spread wide in the water distribution system. Therefore new  simple efficient methods for detection of coliform and pathogenic bacteria in polluted water and monitoring of water resources which is necessary for  human  consuming ,and even animals and plant requirements is need( Bartram et al.,2004). Many methods have been developed for detection and  isolation of most pathogens in water  such as molecular methods which is Compared to the traditional culture techniques,  sensitive,  specific, fast provides results within 24-48 hr ,  and without the need for complex cultivation ( Desouky et al.,2003) Polymerase chain reaction (PCR)  developed for the diagnosis  of  available non cultural bacteria by detection of its DNA  in addition to  strict and opportunistic bacteria, such as V.cholera, Salmonella, Aeromonas, E,coli O157:H7 in raw and treated water ( Straub and Chandlerb , 2003 ; Al-thwanii et al.,2009 ;Al-thwanii and Al-Aubaidi ,2010). Up to our knowlage the current study, is the first of its kind in Iraq , developed modified rapid, sensitive and specific method (PCR) and multiplex pcr for detecting certain pathogenic bacteria in drinking water samples from different  regions in Baghdad city.

MATERIALS AND METHODS

Collection of Water Samples:  Three hundred water samples were taken from different  Parts in Baghdad city, during the 1st of may 2010 to the end of may 2011. One litter of each sample was collected  in a sterile bottles with screw cap  , containing sodium thiosulphate 0.1% to neutralize the residual chlorine, and transported in an cooling container to the laboratory within 2-6 h for bacteriological analysis. analyzed immediately and /or stored at 4°C for up to24h to use.

Bacteriological Examination:-

- Traditional methods:-

Most water samples were examined for  determination of total coli form(TC) , fecal coli form (FC), and E.coli by using the membrane filter technique (MF) , tube fermentation test and presence /absence method for determination . In case of  traditional methods  each membrane filter was transferred on to the surface of the solidified agar medium via sterile forceps. Incubated at  37 cº for  24 h  (   Bosch , 1998).

- Molecular Identification of Bacteria:-

1-  DNA extraction:-Extraction of DNA was carried out by using genomic DNA kit (Gene aid , Taiwan). Total genomic DNA was isolated directly from water samples according to Delabre et al.,1998 with few modifications as follow:

- water samples were concentrated by filtration through 0.45-μm-pore size nitrocellulose filters.

- The filters were then vortexes in peptone broth for recovering bacteria and then  incubated at 37°C for 24 h.

- suitable volume of growth liquid  were centrifuged at 4500 g for 20 minute. The pellet was extracted with  protocol of genomic DNA extraction kit.

- DNA preserved  with 50-100µl of  TE solution in ependroff  tubes at 20-cº.

2- PCR  amplification:--

- Conventional  PCR:-

PCR  assay was  performed to detect the Uid A , LacZ,  genes which is specific for  the identification of  the  E.coli and Coli form respectively  . By using Specific primers as shown in Table (1),according to(Asmak et al. ,1990),These primers synthesized by Cinnagen company.

Table (1) the sequence and concentration of forward and reverse prime

| Primers Type | Primers Sequence | Concentration in picomoles | Product size |
| --- | --- | --- | --- |
| E.coli |  |  |  |
| LacZ Forward | ATGAAAGCTGGCTACAGGAAGGCC | 30262.27 | 264bp |
| LacZ Reverse | GGTTTATGCAGCAACGAGACGTCA | 35265.50 | 264bp |
| Coliform |  |  |  |
| UidA Forward | AAAACGGCAAGAAAAAGCAG | 35748.79 | 147bp |
| UidA Reverse | ACGCGTGGTTACAGTCTTGCG | 34867050 | 147bp |

PCR reaction was conducted in 100µl of reaction mixture containing 50 µl of  green master mix,5 µl of each primer,10 µl DNA template and and 30 µl of deionized water Table(2).

Table (2) the mixture of  conventional    PCR working solution

| Working solution |  |
| --- | --- |
| Water Forward primer Reverse primer DNA Master mix Final volume | 30 5 5 10 50 100 µl |

Table (3) PCR program for Uid A ,LacZ fragment amplification

| Thermocycler conditions | Temperature( °C ) | Time ( min ) |
| --- | --- | --- |
| Initial denaturation Denturation Primmer annealing Primmer extension Final extend | 94 94 55 72 72 | 3 1 1 1 3 |
| Cycles number : 35 cycle |  |  |

Amplification was conducted using thermocycler eppendrof  programmed    with 25 cycler for initial denaturation 95°c for 3 min. , denaturation for 94°c 1min.,Anneling 50°c 1min,Extention72°c1min Table(3) .

- Multiplex  PCR:

The mixture  of multiplex PCR reaction  including two specific  genes  (LacZ,UidA)  which  have been used to detect the   presence of E. coli and Coli form bacteria in the same  water samples  at the same time .  This step  well help as for rapid diagnosis to ensuring contamination of water samples with these types of bacteria as indicator for the  presences of pathogenic bacteria such as Salmonella, V.colera, Aeromonas spp. ,and E.coli O157:H7.The same specific primers selected for the  reaction of conventional PCR analysis of  these genes (Table1), were used in the  multiplex PCR with modification  of mixing the two selected primers in the same  tube of PCR for the same sample and used Multiplex Master mix instead of Master mix (16), ( Table 4).

Table (4) the mixture of  Multiplex   PCR working solution

| Working solution |  |
| --- | --- |
| Water Mix primers DNA Multiplex Master mix | 30µl 10µl 10µl 50µl |
| Final volume 100 µl |  |

3 -Gel Electrophoresis: PCR products and the ladder marker were resolved by  electrophoresis on 2% w/v agarose gels. DNA samples were  loaded  in the tray of Gels   and 100 bp marker was included in every gel and run in TBE(1X) buffer, Gels were stained with ethidium bromide (0.5 μgml-1) and analyzed using UV eliminator The molecular weight identification of resolved band was based on their correspondence to the ladder bands   (Sambrook et al.,1989).

And discussion:- Result

To estimation quality of drinking water, all samples were bacteriologically examined for fecal and  total coliform ,E.coli  using MF technique and PCR .

Tow handred seventy(270)  Filtered water samples were all positive for the fecal and total coliform detection with routine diagnosis methods. For further diagnosis (200) samples were positive for fecal and total coliform and in the same time positive for E.coli  which lied in the range of detection limit .This may be due to presence of  fecal contamination from human Origen from early period. These routine used in most water  monitoring and quality have limitations such as long duration of incubation which reach 24-72 h, long period for preparation of different diagnosis media   this lead for west of time and effort. Detection of live bacteria only, miss diagnosis of slow-growing or stressed bacteria[2]. This may be due to unfavorable  conditions for bacterial growth during culturing of water samples or  the development of  non- culturable  phase (5).

In the same time all samples were analyzed for conventional and Multiplex PCR for detection of   lacZ (264 bp) and uidA (147 bp). (250) sample gave positive results with PCR for  the tow kinds of bacteria in the routine methods Fig(1).

300

100

Fig(1):Conventional PCR for detection of Uid A147pb , LacZ 264pb genes, Lan:1 negative,Lan:2,3,4,positive for LacZ 264pb,lan :6 negative,lan:7,8 positive for Uid A147pb.,M:Marker DNA lader

Since detection of bacteria in raw and Tap water , needs amplification and detection of specific extracted DNA sequences in one organism to improved the speed and specificity of detection( Alexander et al.,2005)In our study primers for detection of the lacZ gene have been used for conformation isolation of coliform which represent the expression product  (ß-galactosidase) of this gene (  Roy et al.,2006) . UidA gene  for the detection of E. coli   which encoding ß-D- glucuronidase (GUD)enzyme. Only(30 )water sample didn't match with these results, which is  negative for routine detection and positive for PCR analysis, and (20) water samples were negative for PCR analysis. This is my due to possible loss or damage of extracted DNA because of  reaction circumstances like high extension period ,and maybe due to presence of inhibitors in the samples.

Clear correlation was appeared  between PCR technique and  traditional culturing method (MF), when all positive water samples with MF give appositive amplification results with conventional PCR, except twenty water sample which was over  the detection limit (consider  polluted  water samples in traditional methods but give negative results with PCR) . Detection of total coliform and E. coli In multiplex amplification  indicate positive results  in ( 50 ) from the (250)  water samples which were positive for  the two test fig.(2).

100

100

147 pb

264حح pppb

500pb

147

Fig. 2: Multiplex PCR detection for total coliform and E. coli: Lane M-100 bp DNA ladder; Lane 1 and 2 negative amplification; Lanes 3-4 positive amplification ,each lane contains 2 bands of LacZ 264pb, Uid A147pb.

Multiplex PCR technique was used  for distinguish between total coliform and E. coli and non-coli form strains,  the results in our study showed a high degree of specificity because  the  non-coli form strains did not  represent any specific amplification when examined with UV eliminator.

REFERENCES

Alexander, L., B. Wolfgang and M. Harald( 2005).Diversity of bacteria growing in natural mineral water after bottling. Appl. Environ.Microbiol., 71(7): 3624-3632.

Al-thwanii ,A.,N, Al-aubaidi,R.,M.,(2010).Comparative study between Vibirio cholera isolated from patients and from surface water in Iraq using puls filed gel electrophoresis. Iraqi J.Biotech.9(4):838-848(2010).

Al-thwanii ,A.,N,Al-Saqar,I.,M.,Jasem,B.,aShwaq,et al.(2009).Using plasmid scanning in epidemiological investigations for Salmonella typhi bacteria in polluted water supply and patients in Al-sader city. Iraqi J.Biotech.8(1):419-427(2009).

Ashbolt, N.J., 2004. Microbial contamination of drinking water and disease outcomes in developing regions. Toxicology, 198: 229-238.

Asmak,K.B.,L.D.Josef,H.,LawrenceandM.Ronald(1991).Detection o E.coli and Shigella ssp. In water by using the polymerase chaine reaction and gene probes for Uid.Appl.and Env.Mic.57(4):1013-1017.

Bosch, A., 1998. Human enteric viruses in thewater environment. Int. Microbiol., 1: 191-196.

Delabre, K., P. Cervantes, V. Lahoussine andM.R.D. Roubin (1998). Detection of viable pathogenic bacteria from water samples by PCR.OECD Workshop on Molecular Methods for Safe Drinking Water. France.

Desouky, A.H., Z.H. Kheiralla, S. Zaki, A.A. Rushdy and W. Abd-El-Raheim, (2003). Multiplex- PCR and PCR-RFLP assays to monitor water quality against pathogenic bacteria. J. Environ. Monit., 5: 865-870.

Roy, S.L., E. Scallan and M.J. Beach. (2006). The rate of acute gastrointestinal illness in developed countries. J. Wat. Health., 4(2): 31-70. water. J. Wat. Health., 4(Suppl. 2): 165-186.

Sambrook , J ., Fritsh , F.E., and Maniatis, T.((1989)  Molecular cloning : A laboratory manual . 2nd edition . Cold Sprin, NewYork.

Strauba, T.M. and D.P. Chandlerb( 2003). Towarda unified system for detecting waterborne pathogens. J. Microbiol. Methods., 53: 185-197.J. Appl. Sci. Res., 3(10): 1084-1093, 2007 1093.

World Health Organization (WHO).( 2006).Guidelines for drinking-water quality: Firstaddendum to third edition. Vol. 1. Geneva.