Water Hammer Analysis in Main Pipeline of Water Treatment Plant For the Bakhma Residents

Karim Rashid Gubashi                Faris Abdul Alkreem Kubba

Environmental Eng. Dep.College of Engineering ,Al-Mustansirya University

Abstract

A numerical model using approximate method of characteristics has been presented for solution of the transient flow situations of water hammer and application on a main pipeline joining the intake and water treatment plant for the residents in Bakhma Dam. This case study demonstrates the capability to simulate the water hammer effect by simulating the sudden closure of a valve at the outlet of a long pipe in which water is flowing. The case study includes three pipelines (reaches) of the same diameter and different length and static pressures. The objective of the simulation is to investigate the pressure variation at different positions along the length of the pipe due to the water hammer effect resulting from the sudden closure of the outlet of the pipe.

Keywords: Water hammer, analysis of water hammer, pipeline of treatment plants.

الخلاصة

أعد نموذج عددي باستخدام طريقة المميز(characteristics) لحل حالات الجريان المتذبذب نتيجة حصول الطرق المائي وتطبيق ذلك على الخط الأنبوبي الرئيسي الذي يربط المأخذ مع محطة المعالجة لسكان سد بخمة. هذه الدراسة توضح قابلية تأثير الطرق المائي نتيجة الغلق المفاجئ لصمام الانبوب الواقع في مؤخره أثناء الجريان. أجريت الدراسة على ثلاثة مقاطع أنبوبية لها نفس القطر ومختلفة الأطوال والضغوط الساكنة. وغاية الدراسة لمعرفة تغير الضغط في تلك المواقع الثلاث على طول الانبوب نتيجة تأثير الطرق المائي بسبب حصول الغلق المفاجئ.

الكلمات الدالة: الطرق المائي , تحليل الطرق المائي , خط الانبوبي لمحطات المعالجة.