Design Model Of Residential Water Demand

In Al-Najaf City

Jabbar H. Al Baidhani              Mohammed A.m. Al-Tufaily

Department of Civil Engineering,  University of Babylon University of Babylon

Abeer Ibraheem Al Khazaly

Department of Civil Engineering, University of Babylon

Abstract

This paper investigates the analysis of residential water demand for Al- Najaf city which is ( Population of about 541918 person , living in an area of 5.82 Km2 according to Central Committee of Statistics – Najaf Census Directorate -1997) along with determining the factors that affect such demand for the period from the 1st of October -2005 to the end of August – 2006.

The cross-section data which was weekly observed was collected by a survey made on a sample of randomly chosen dwellings from different districts of the city.

A questionnaire survey was also made to collect all necessary information seemed useful in estimating the daily consumption of domestic water.

Demand relations are estimated for total residential, winter, summer, and Sprinkling demands.

Stepwise multiple regression analysis was employed to find the structural relationship between water demand per household per day and household characteristics (factors) for each type of demand.

All demand models were fitted in log-linear form.

In this survey, the average daily water demand for the city of Najaf was estimated to be 1221 l/h/d ( 177 l/c/d) for total demand , 745 l/h/d ( 108 l/c/d)  for winter demand , 2754 l/h/d ( 399 l/c/d ) for summer demand , and 556 l/h/d (81 l/c/d ) for sprinkling demand .

The most significant factors effecting on the demand are appeared in the fitted equations. Household size was found to be the most significant variable in winter and sprinkling demand models, while the number of families was found to be the most significant variable in the total, and summer demand model.

The pressure was found to be the significant variable in winter and summer demand models, while the number of showers was found to be significant variable in the total and summer demand model.

الخلاصة

يتحرى هذا البحث  تحليل طلب الماءالمنزلي لمدينة الحلة مع ايجاد العوامل المؤثرة على هذا الطلب  للفترة من الاول من شهر تشرين الاول 2005 الى نهاية شهر آب – 2006  .

تم جمع البيانات المرصودة اسبوعياً من خلال نموذج من الدور التي  اختيرت عشوائياً من مختلف  الاحياء السكنية للمدينة والتي تم تجهيزها بمقاييس جديدة وموحدة المنشأ ، والتي تم الحصول عليها بمساعدة مديرية ماء بابل .

تم عمل دراسة استفتائية للحصول على المعلومات الضرورية في تخمين طلب الماء المنزلي.

تم تخمين علاقات الطلب باربع نماذج مختلفة  :- الكلي ، الشتائي ، الصيفي ،  والرش .

تم استخدام تحليل الانحدار المتعدد التدريجي لا يجاء العلاقة التركيبية بين المتغيرات ( الخصائص الاسرية ) ولكل نوع من انواع نماذج طلب الماء المنزلي ، وتم تثبيت جميع النماذج بالصيغة ( لوغارتمي – خطي ) .

في هذه الدراسة تم تخمين معدلات طلب الماء المنزلي لمدينة النجف وكانت 1221 لتر/ دار في اليوم (177  لتر/ شخص في اليوم ) لنموذج الطلب الكلي ،  745 لتر / دار في اليوم (108 لتر / شخص في اليوم ) لنموذج الطلب ألشتائي ، 2754 لتر / دار في اليوم(  399 لتر/ شخص في اليوم ) لنموذج الطلب الصيفي ، و 556 لتر / دار  في اليوم ( 81 لتر / شخص في اليوم ) لنموذج طلب الرش .

إن العوامل الأكثر أهمية في التأثير على طلب الماء المنزلي تظهر في المعادلات المثبتة ولكل نموذج ، من هذه العوامل : حجم الأسرة وهو متغير مهم في ل من نموذج الطلب الشتائي والرش، بينما يكون عدد العوائل  هو المتغير المهم في نماذج الطلب الكلي والصيفي .

إن الضغط هو متغير مهم في نموذج الطلب الشتائي والصيفي بينما عدد الدوشات هي من المتغيرات المهمة في نموذجي طلب الماء الكلي والصيفي .

Introduction

Water is vital for mans existence; without water there would be no life on earth. The body of a human being consists of 65 percent water. Apart from the day to day requirement, water is needed for irrigation, power generation, industrial production and receiving wastewater.

There is enormous amount of water on our planet, approximately 1.4*109 cubic kilometers in the form of oceans, rivers, seas, lakes, ice, et… But only 3 percent of the total quantity of water on the earth is in the form of fresh water available in rivers, lakes, and ground water. Fresh water is limited, but the requirements for fresh water are ever on the increase, due to the increase of population and industrialization (Al-layla, M.A., Ahmed, S., and Middlebrooks, E.J., 1977)

Residential water demand can be defined as "the total quantity of water used for domestic purposes which include in-house purposes like: drinking, cooking, bathing, house cleaning  ...etc., and out –house purposes like: garden watering, air-cooling, ...., etc." (Qasim et al., 2000; Isehak, 2001)

- The objectives of this work are: (1) Explain the major factors that affect such demand and define their effects; (2) Developing model of residential water demand in Al-Najaf city under the considerations total, winter, summer, and sprinkling.

For the purpose of this work a sample of dwelling units was randomly chosen in different areas of the city which is the main town in Al- Najaf governorate in Iraq with population of about 541918 person and area of about 5.82Km2 and supplied with new and identical charging meters. A questionnaire surrey was also made to supplement the data of the individual household and the completion of diaries for each major element of water use for the period from the 1st of October -2005 to the end of August – 2006.

The present was based on the statistical approach using stepwise multiple regression analysis method to establish a relationship between demands per household per day that include weather related variables.

The water consumption relates on the nature of the season, so that, the study of domestic water demand has been divided into four formulas: study no. 1,2,3, and 4 to analyze the total, winter, summer, and sprinkling residential water demand respectively.

Total demand includes water used for in-house and out-house purposes throughout the whole period. Winter demand was assumed to be equal to in-house purposes only through the winter season. Summer demand includes water consumed for in-house plus out-house purposes in the summer season.

The difference between winter demand and summer demand was related to sprinkling (seasonal) demand which equals to out-house water consumption only.

There are many types and configurations of data sets that be used in modeling water use which are mainly based on the methods of observation (Jones and John, 1984; Gracia et al., 2001) like:

- Time series data  which are arranged in a chronological order and analyzed using multiple regression analysis and time series methods;

- Cross-sectional data which are arranged cross-sectionally and analyzed using  multiple regression method. The present study data falls in this type;

- Pooled data of both time -series and cross-section .

The regression analysis Technique

Residential water demand from earlier efforts to the recent works indicates that the statistical approach appears to be the most promising for the residential category ( Jones and John ,1984) . There are two approaches which are the most common (Kindler and Russell,1984) : Statistical and engineering.

So that, the stepwise multiple regression analysis was used to view water consumption as a result of a number of explanatory factors.

SPSS program for windows version 11.0 is used to carry out the linear multiple regression analysis between the dependent variable (Y) and the independent variables (X1.X2, X3 …)

The general form of multiple linear regression equation is ( Dancey and Reidy ,2002;Abdi,2003):

Y=b0+b1X1+b2X2+ b3X3+……..bkXk                                             …………….(1)

Where Y is the predicted value of the dependent variable (water demand).

X1, X2, X3,…XK are the independent variables ( predictors ).

b0 is the intercept coefficient ( Constant)

b1, b2, b3,…..bk are the partial regression coefficients of the  independent variables.

K is the number of independent variables included in regression equation.

If model carried out through the origin , then b0=0( Snedecor and Cochran ,1980; Legendre and Desdevises,2002)

The regression technique bases on the principle of the least squares, which it is a method that gives what is commonly referred to as the "best -fitting" line. It determines a regression equation by minimizing the sum of squares of the predicted distances between the actual Y values ( measured ) and the predicted values Y( i.e. e ) . To illustrate this concept, the error, e (or residual) can be defined as (Mason et al., 2000):

en=Yn−Yn                                                                                 ….………..(2) Se=min i=1nei2                                                                         ……………(3)

Where Se is the sum of the squares of the errors.

n   is the sample size

Se=min i=1nYi−Yi2                                                            ……………(4)

For multiple regression analysis, refer to equation (1), using the principle of least squares. From Equation (4), the objective function becomes:

Se=min i=1nei2=min i=1nbo+j=1kbjxij−Yi2                               …………….(5)

Where i indicating the observation and  j is the specific dependent variable.

The method of solution is to take the (k+1) derivatives of the  objective function(5) , with respect to the unknowns , b0 and bj , ( j=1,2,3,…., k); setting the derivatives equal to zero; and solving for the unknowns:

The equations obtained will be as follows:

n bo+b1 x1+b2 x2+b3x3+...+bkxkYbox1+b1x12+b2x1x2+b3x1x3+...+bkx1xkx1Ybox2+b1x2x1+b2x22+b3x2x3+...+bkx2xkx2Ybox3+b1x3x1+b2x3x2+b3x32+...+bkx3xkx3Y⋮⋮boxk+b1x1xk+b2x2xk+......................+bkxk2xkY

……………..(6)

Where n= number of observation set of data points.

Equations (6) can be solved by any method for the solution of simultaneous linear equations to evaluate the regression coefficients b1,b2,…..bk , and the intercept b0.

Four forms of transformation were used for each type of demand to investigate which form gives the best fitting of data.

Transforms are used to force all variables to normal distribution and to correct a positive skew distribution

(www.chass.ncsu.edu/garson/pa765/regress.htm).

The following models were proposed and investigated:

1. Linear – linear model

Q=bo+b1x1+b2x2+...+b12x12                                           .……………….(7)

2. Log-log model (double log model)

lnQ=bo+b1lnx1+b2lnx2+...+b12lnx12                  ……………...(8)

3. Linear-log model (semi-log model)

Q=bo+b1lnx1+b2lnx2+...+b12lnx12                    ………………(9)

4. Log-linear model (inverse semi-log model)

lnQ=bo+b1 x1+b2x2+...+b12x12  .....................                          (10)

Where Q = average daily water demand in L/h/d (liter per house per day);

X1,X2,X3,……X12= The independent variables.

The stepwise multiple linear regression for log-linear model carried out through the origin was found to be the most appropriate model for four types of water demand .

The study area

Figure (1) shows the different locations of the study areas in Al-Najaf city.

Fig.(1): Chart of the Different Locations of the Study Area in Al-Najaf City

.

Results and Discussion

Table(1) shows the ,most important statistical features of each type of water demands in Hilla City .

Table(1): Descriptive Statistics for Dependent variable ( Observed Water

Demand) for Each Type of Demand). [After Samaka (2004)]

| Water Consumption |  | N | Range | Minimum | Maximum | Mean | Std. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Statistic | Statistic | Statistic | Statistic | Statistic | Statistic |
| Total | L/h/d | 50 | 1817.0 | 389.00 | 2206.00 | 1652.0570 | 447.59084 |
|  | L/c/d | 50 | 297.43 | 140.07 | 437.50 | 271.5265 | 94.44452 |
| Winter | L/h/d | 50 | 4576.67 | 40.00 | 4616.67 | 1018.133 | 1051.1162 |
|  | L/c/d | 50 | 502.96 | 10.00 | 512.96 | 137.4058 | 91.33987 |
| Summer | L/h/d | 50 | 3551.50 | 748.504 | 4300.00 | 2196.21 | 8586.36 |
|  | L/c/d | 50 | 525.17 | 223.33 | 748.50 | 334.8 | 99.48531 |
| Sprinkling | L/h/d | 50 | 1732.53 | 62.80 | 1795.33 | 951.2020 | 443.86099 |
|  | L/c/d | 50 | 1790.50 | 4.83 | 1795.33 | 201.9859 | 255.76253 |

For total water demand, the observed value of 272 l/c/d was found to be higher than that reported by Al-Samawi and Hassan (1988) for the city of Basrah back in (1977-1978). They reported a value of 137 l/c/d as an average daily taken over one year period.

Samaka, I. S.(2004) reported the value for average daily consumption during winter season for Hilla city  137 l/c/d  it is very closely to the value in Al- Najaf city.

For summer demand, the average daily water demand was about 270.86 l/c/d which was much higher than that reported by Al- Samawi and Hassan (1988) for Basrah city, but Samaka, I. S. (2004) found a value of 307 l/c/d for average daily consumption during the summer season in Hilla city. This indicates that it’s significant increase in trend of water demand occurred in Iraq during the last two decades.

For sprinkling water demand, the average daily value was very close to 202 l/c/d and it is higher than the value reported by Al- Samawi and Hassan (1988) for Basrah city when they recorded the value of 92 l/c/d, but for city of Baghdad (2001), Isehak reported a lower value of 458.66 l/h/d and 89.31 L/c/d while Samaka, I. S. (2004), reported a lower value of (192 l/c/d) for the city of Hilla.

During  the observation of water consumption in the city , it can be seen that about 90 % of houses  consume(2100, 1500, 3400, and 1500 L/h or less)  of water per day for total , winter , summer  , and sprinkling  water demand respectively . While Isehak (2001) found that ( 2000 l/h  or less ) of water per day was consumed by 87.8 % , 93.5% , and 81.3% of houses in Baghdad City for total , winter , summer demand , respectively, but only 50 % of houses consume 500 l/d or less.

Pattern of Deferent Average Daily Water Demand in Hilla City

Total  Water Consumption

(L / h / d)

0

1000

2000

3000

4000

5000

6000

0

20

40

60

Figure (2), (3) and (4) display the pattern of average daily water consumption of households, weekly observed during the specific period for total winter, and summer water demand respectively.

Winter Water Consumption

(L / h / d)

Time (Week                                   Time (Week)

Fig.(2):  Pattern of Average Daily Total Water Consumption Per House ( by Week ) for the Period (from the 1st of October  to the End of August).

Fig. (3): Pattern of Average Daily Winter Water Consumption Per House by Week)

House (by Week) for the Period (from the 1st of January to the End of February).

Summer  Water Consumption

(L / h / d)

Time(Week)

Fig.(4): Pattern of Average Daily Summer Water Consumption Per House   (by  Week ) for the Period     (from the 1st of July to the End  of August).

Through Figure (5), it can be noticed that was a general upward trend with increasing variability.

Total Water Consumption

(L / h / d)

R2 = 0.9233

Y(t) = 1148.88 ــ 59.54t + 2.82t2

Time (Week)

Fig.(5): Trend of Average Daily Total Water Consumption Per House (by   Week) for  the Period (from the 1st of January to End of August).

Model for Different Types of Demand

By (SPSS), the output tables are arranged in three tables (A, B, AND C): summary, ANOVA* , and coefficients table, each table gives some of results.

According to procedure of stepwise multiple linear regression analysis, there are greater than one model are listed in tables , but the technique is based on choosing the finding one which has the high value of R2 ( or adj R2 ), lower value of both standard error of the estimate and mean square error , and the good value of t , and F test which they test the significance of both regression coefficients and the regression model respectively.

It should be noted that the factors included in this study are:

X1= household size ; x2= No. of bedrooms  x3= No. of toilets , x4= No. of showers ;x5 No. of washbasins; x6=No. of taps in the garden ; x7 = No. o air-coolers ; x8 = No. of air-conditioners;x9= total built up area of house ; x10 = area of garden  ; x11= No. of washing machines; x12 = No. of cars, the pressure (x13), No. of families (x14), No. of children (x15) and education (x16).

For each type of demand model, the researchers toke number of factors which are considered an important because of their reliable impacts on that demand.

Refereeing to table (2), the out coming of this work; (i.e.) the most suitable model for different water demands can be written as the following:

Study No. 1 (total water demand)

Ln Q total = 1.354X4+1.203X5+0.009609X9+0.899X14                 …….. (11)

Where Q total = average daily total water demand l/h/d.

In this model, four out of all independent variables assumed to have a reliable impact on demand:, No. of showers(X4), No. of washbasins(X5) , total built-up area of house (X9), and No. of families (X14),  are the most significant variables.

When the model is in log-linear form, the contribution of each one unit of showers, washbasins, total built-up area of house, and No. of families are 1.354, 1.203, 0.009609 and 0.899 l/d respectively for the natural logarithmic form of consumption.

On the other hand, this contribution takes the value of 225.17, 207.64, 1.65 and 159.24 l/d respectively for linear form of consumption.

The total built-up area of house explains most of the percent production power in water demand model (32%). While the variables of No. of washbasins, No. of showers and No. of families variables explain 23.8% , 23.6%,and 20.6%  respectively as shown in Table (2-c) represented by the values of standardized coefficients (Beta).

By regression model, the estimated average consumption in Al-Najaf city is about 1221.42 l/h/d or is not far from 177.01 l/c/d.

The value of 1221.42 l/h/d  is higher than that estimated by hall (1988), who found that the residential demand in South West England was increased from 113.4 l/h/d in 1977 to 131.6 l/h/d in 1985.

Samaka, I.S. (2004),estimated the total water demand for Hilla city of 1721 l/h/d; this value is higher than that reported in this study.

Table (2): Linear Regression for Deferent Log-linear Water Demand Models (L/h/d).

A. Model Summary

| Model | R | R Square a | Adjusted R square | Std. Error of the Estimate |
| --- | --- | --- | --- | --- |
| 4 Total | 0.972 | 0.945 | 0.940 | 1.85566 |
| 3 Winter | 0.987 | 0.974 | 0.972 | 1.14749 |
| 5 Summer | 0.991 | 0.981 | 0.979 | 1.16898 |
| 3 Sprinkling | 0.952 | 0.907 | 0.901 | 2.21693 |

a. For regression through the origin (the no-intercept model), R Square measures the proportion of the variability in the dependent variable about the origin explained by regression. This CANNOT be compared to R square for models which include an intercept.

B- ANOVA

| Model | Sum of Squares | df | Mean Square | F | Sig. |
| --- | --- | --- | --- | --- | --- |
| 4 Regression Residual Total | 2714.260 158.401 2872.661b | 4 46 50 | 678.565 3.443 | 197.057 | 0.000g |
| 3 Regression Residual Total | 2279.789 61.886 2341.675b | 3 47 50 | 759.930 1.317 | 577.134 | 0.000e |
| 5 Regression Residual Total | 3230.809 61.493 3292.302b | 5 45 50 | 646.162 1.367 | 472.856 | 0.000e |
| 3 Regression Residual Total | 2250.507 230.994 2481.501b | 3 47 50 | 750.169 4.915 | 152.635 | 0.000 |

C- Coefficients a,b

| Model | Unstandardized coefficients |  | Standardized coefficients | T | Sig. |
| --- | --- | --- | --- | --- | --- |
|  | B | Std. Error | Beta |  |  |
| 4 Total Built-up Area No. of Washbasins No. of Showers No. of family | 9.609E-03 1.203 1.354 0.899 | 0.003 0.498 0.501 0.385 | 0.320 0.238 0.236 0.206 | 3.080 2.417 2.704 2.337 | .003 .020 .010 .024 |
| 3 The pressure Household size No. of bedrooms | 0.468 0.240 0.692 | 0.053 0.063 0.185 | 0.471 0.255 0.274 | 8.805 3.824 3.735 | 0.000 0.000 0.001 |
| 5 The pressure No. of air-coolers No. of families No. of cars No. of showers | 0.610 1.097 0.504 0.693 0.731 | 0.065 0.250 0.237 0.282 0.313 | 0.524 0.222 0.101 0.032 0.121 | 9.377 4.392 2.125 2.457 2.339 | 0.000 0.000 0.039 0.018 0.024 |
| 3 Household size No. Of taps in garden Garden Area | 0.536 1.231 1.565E-02 | 0.056 0.379 0.005 | 0.54 0.24 0.220 | 9.577 3.249 2.860 | 0.000 0.002 0.006 |

a. Dependent Variable: Ln  of Consumption

b. Linear Regression through the Origin

Study No.2 (winter water demand)

LnQ win. = 0.24 X1 + 0.692 X2 +0.468 X13                            ………………(12)

Where Q win. = average daily winter water demand l/h/d .

household size (x1), No. of bedrooms (x2) and the pressure (x13) are the most significant independent variables and there is a positive correlation between dependent variable and the three independent variables.

The contribution of each one unit of X1, X2, X1 and X13 are 0.24, 0.692, and 0.468 l/d respectively for natural logarithmic scale of demand.

The pressure explains most of the percentage contribution in prediction of water demand model 47.1%, but X1 and X2 explain 25.5% and 27.4% respectively.

By apply the model, the estimated winter water demand is nearly 745 l/h/d or about 107.97 l/c/d. Twort et al. ( 1985) suggested a value of 160 l/c/d .

Samaka I, S (2004) reported the value of 586.126 l/c/d (93 l/c/d) for Hilla city.

Study No.3 (summer water demand)

Ln Q sum.= 0.731X4	+1.097X7 +0.693X12 +0.61X13+0.504X14 ………….. (13)

Where Q sum. = average daily summer water demand L/h/d.

In this model , No. of showers(X4), No. of air-coolers(X7), No. of cars (X12), the pressure(X13), and No. of families(X14), are the most significant independent variables and there is a positive impact of the five variables on water  demand.

The contribution of each one unit of X4,X7,X12,X13 , and , X14 are 0.731, 1.097, 0.504, 0.693, and 0.61 l/d respectively for natural logarithmic  form of demand .

The model indicates that X13 explains most of the variation in percent prediction (52.4%) in the summer model, while X7, X14,X12, and X4 explain 22.2%, 10.1%,3.2% and 12.1% respectively.

By this model, the estimated average summer consumption is about 2753.7 l/h/d or not far from 399.08 l/c/d .

Loh and Coghlan(2003) estimated the value of 1230L/h/d in Perth/ Western Australia, and this value is lower than the estimated value for Al-Najaf city .

Samaka, I.S. (2004), estimated the value of 2453 l/h/d in Hilla city.

Study No.4 (sprinkling water demand)

Ln Q spr. = 0.536 X1 +1.231X6+0.01565X10                             …………. (14)

Where Qspr. = average daily sprinkling water demand l/h/d.

The model shows that the explanatory variables; household size (X1), No. of taps in garden (X6), garden area (X10)  were the significant variables , and there is a positive correlation between the water demand and the three independent variables .

The contribution of each one unit X1, X6, and X10 are 0.536, 1.231, and 0.01565 l/d respectively for natural logarithmic scale of sprinkling demand.

Household size explains most of the percent prediction power (54%). On the other hand, X6, and X10 explain 24 % and 22 of the variation respectively.

The estimated average daily consumption is 555.93 l/h/d or about 80.56 l/c/d.

Loh and Coghlan (2003) estimated values of 707 l/h/d, and 211 l/c/d, and both values are higher than the estimated value for Al-Najaf city.

Samaka, I.S. (2004), estimated the value of 490 l/h/d in Hilla city.

Test for validity of each type of demand were made to check the accuracy of regression model, and then to show if it regarded as statistically.

Each demand model was adequately envelops observed water use and it was in agreement with all measurements of validation.

Conclusions

- From the results analysis of the present work which was based on using stepwise multiple linear regression analysis, one concluded that the most suitable predicting, model for the four types of residential water demand is a linear relation in (log-linear) form.

- the most appropriate model with the most significant independent Variables is:

For total water demand model:

Ln Q total= 1.354X4+1.203X5+0.009609X9+0.899X14

For winter water demand model:

Ln Qwin. = 0.24 X1 + 0.692 X2 +0.468 X13

For summer water demand model:

Ln Qsum. =0.731X4	+1.097X7 +0.693X12 +0.61X13+0.504X14

For sprinkling water demand model:

Ln Qspr. = 0.536 X1 +1.231X6+0.01565X10

Where:

X1: household size. , X2: No. of bedrooms. , X4: No. of showers.

X6: No. of taps in garden. , X7: No. of air-coolers.

X9: total built-up area of house. , X10: garden area

X12: No. of cars. , X13: the pressure and X14: No. of families.

- In this study , the average daily water demand for Al- Najaf city was estimated to be 1221 l/h/d ( 177 l/c/d) for total demand , 745 l/h/d ( 108 l/c/d)  for winter demand , 2754 l/h/d ( 399 l/c/d ) for summer demand , and 556 l/h/d (81 l/c/d ) for sprinkling demand .

- During the period of study, the minimum level of the average daily         consumption in the city occurred in winter time especially in the month of (January), but the maximum level happened in summer    season (August).

References

Al-Adawi, M.S., 1983, “Principles of Plumbing Inside Buildings” (In Arabic).

Al-Samawi, A.A., and Hassan, J.S., 1988, "An Analysis of Residential Demand for Water: A Case Study of the City of Basrah", Arab Gulf J. Scient. Res., A6(2), pp.268-271.

Canadian Council of Ministers for the Environment (CCME), 1996. Online: http:// www.chs.ubc.ca/china/PDF%20Files/Zhang/Ch%202 %20-%20Lit%20Review.pdf.

CIDA Funded Project Team, 1999, "Urban Household Water Use Pilot Survey in Beijing and Tianjin", School of Urban Planning, McGill University, Montreal, Canada.Online:http://www.chs.ubc.ca/china/PDF%20Files/Zhang/Reprot%20on%20Urban%20Household.pdf.

Dziegielewski, B., Sharma, S.C., Bik, T.J., Yang, X., Margono, H., and Sa, R., 2002, "Predictive Models of Water Use: An Analytical Bibliography", Southern Illinois University Carbondale, Planning and Management Consultants, Ltd. Carbondale, Illinois. Online: http:// info.geography.siu.edu/projects/wateruse/BiblioFinal.pdf.

Danielson, L.E., 1979, "An Analysis of Residential Demand for Water Using Micro Time-Series Data", Journal of Water Resources Research, Vol.15, No.4, pp.763-766, August.

Gracia, F.A., Valiñas, M.Á.G., and Martínez-Espiñeira, R., 2001, "Literature on the Estimation of Residential Water Demand", Environment Department, University of York. Online: http:// www.stfx. ca/people/rmespi/department/RoberMarian21NOV.pdf.

Howe, C.W., 1982, "The Impact of Price on Residential Water Demand: Some New Insights", Journal of Water Resources Research, Vol.18, No.4, pp.713-716. Online: http:// info.geography. siu.edu/projects/wateruse/BiblioFinal.pdf.

Hall, M.J., Hooper, B.D., and Postle, S.M., 1988, "Domestic per Capita Water Consumption in South West England", Journal of the Institution of Water and Environmental Management, Vol.2, No.6, pp.626-631, December.

Heaney, J.P., DeOreo, W.Mayer, P., Lander, P. Harping, J., Stadjuhar, L., Courtney, B., and Buhlig, L., 2002, "Nature of Residential Water Use and Effectiveness of Conservation Programs", Boulder Area Sustainability Information Network, January. Online: http:// bcn. boulder.co.us/basin/local/wateruse.html.

Isehak, R.J., 2001, "An Analysis of Residential Demand for Water: A Case Study of the City of Baghdad for the Period from 1995 to 1998", M.Sc. Thesis, University of Technology.

Jones, C.V. and John, R.M., 1984, "Instrumental Price Estimates Residential Water Demand", Journal of Water Resources Research, Vol.20, No.2, pp.197-202. Online: http:// www.chs.ubc.ca/ china/PDF%20Files/Zhang/ch%202%20-%20lit%20Review.pdf.

Khadam, M.A.A., 1988, "Factors Influencing per Capita Water Consumption in Urban Areas of Developing Countries and Their Implications for Management, with Special Reference to the Khartoum Metropolitan Area", Journal of Water International, Vol.13, No.4, pp.226-229, December.

Khalil, K.C., 1994, "Regression Model on Municipal Water consumption", M.Sc. Thesis, University of Technology.

Loh, M., and Coghlan, P., 2003, "Domestic Water Use Study in Perth, Western Australia 1998-2001", Water Corporation, Perth Australia, March. Online: http://www.watercorporation.com.au/ water -waterusestudy.cfm.

Mason, R.D., Lind, D.A. and Marchal, W.G., 2000, "Statistical Techniques in Business and Economics", 10th Edition, McGraw-Hill Book Companies, Inc., Singapore.

MultipleRegression.Online:http://www2.chass.ncsu.edu/garson/pa765/regress.htm.

Per Capita Water Use for Household Consumption Study in U.S., 1998. Online: http:// www.environment.agency.gov.UK, 1999.

Qasim, S.R., Motley, E.M., Zhu, G., 2000, “Water Works Engineering: Planning, Design, and Operation”, Prentice – Hall Book Company, Inc., U.S.A.

Samaka , I., S., 2004 " An Analysis of Residential Water Demand in Hilla City",  M.Sc. Thesis , University of Babylon.

Stockes, R.A., Beckwith, J.A., Pound, I.R., Stone, R.R., Coghlan, P.C., and Ng, R., 1995, "Perth's Water Future, A Water Strategy for Perth and Mandurah to 2021", Water Authority of Western Australia, Publication No.WP214. (Cited by Loh and Coghlan, 2003).

Steel, E.W., and McGhee, T.J., 1979, “Water Supply and Sewerage”, 5th Edition, McGraw-Hill Book Companies, Inc.

Tebbutt, T. H. Y., 1998 “ Principles of Water Quality Control”, 5th end., Butterworth Heinmann.