Effect of Time  Period of Disposal of Heated Water on Temperature Distribution  Downstream South- Baghdad Power Station

Muhsen Jassim

Al-Musaib Institute Technology

Abstract

This research aims to study the effect of thermal discharged released from South-Baghdad power station on temperature distribution in Tigris river. For this purpose, a two-dimensional numerical model was applied for estimating temperature distribution and diffusion  in the river  .

Momentum Conservation Equation and Thermal Energy Equation were used to describe the temperature distribution along the river stretch included in this study. The model incorporates the (k-ε) turbulence model to calculate the distribution of turbulent viscosity. The pressure distribution was determined using hydrostatic pressure equation . The partial differential equations were simplified to obtain the system of linear  equations were then solved using Gauss-Elimination  .

The numerical model was verified by conducting comparison of observed data from South-Baghdad station with those computed by the model .The comparison results show a good  agreement with absolute  difference of  (15.4% ) and correlation factor  of (0.961 ).

The results of the study show that increasing the time period of disposal of heated water from (100 to 200 to 300 to 400 sec)caused a longitudinal advance of temperature of (33.4%, 20%, 11.8%) , respectively and vertical advance of (66.7%, 20%, 13.4% )

الخلاصة

يهدف البحث إلى دراسة تأثير  الفترة الزمنية للمطروحات الحرارية على توزيع درجات الحرارة المتولدة من محطة كهرباء جنوبي- بغداد على نهر دجلة  . ولهذا الغرض تم بناء نموذج عددي رياضي لتمثيل توزيع و انتشار المياه الحارة المطروحة في النهر.

استخدمت معادلة حفظ الزخم و معادلة  حفظ الطاقة الحرارية  لمعرفة توزيع درجات الحرارة خلال منطقة الدراسة. كذلك تضمن  النموذج العددي معادلات الاضطراب ( k-ε ) لحساب معاملات اللزوجة . واعتمدت معادلات الضغط الهيدروستاتيكي لحساب الضغط في كل نقطة خاصة بالدراسة  . ثم تبسيط المعادلات التفاضلية المختلفة للحصول على معادلات جبرية خطية تم حلها بطريقة الحذف المتناوب.

تم معايرة النموذج العددي من خلال مقارنة النتائج المقاسة من قبل محطة كهرباء جنوب- بغداد على نهر دجلة مع النتائج المحسوبة من النموذج العددي الرياضي و اظهرت نتائج المقارنة ان النموذج  مقبول إلى حد ما بنسبة خطا مطلق مقداره  (15.4%)  ومعامل ارتباط  مقداره  0.961 ) ).

أظهرت نتائج الدراسة ان زيادة الفترة الزمنية للمطروحات الحرارية ( من 100 الى200 الى300 الى 400 ثانية)  يسبب تقدم لدرجات الحرارة بالاتجاه الطولي مقدارها (33.4% ,20%, 11.8% ) على التوالي وبالاتجاه العمودي مقداره (  66.7%, 20%, 13.4%) على التوالي .

Introduction

The discharge of thermally polluted water from power station, industrial plants, and other large sources into rivers, lakes, seas and ocean is becoming an increasing threat to our water resources. Also heated water discharge affect aquatic life in a number of ways, including a change in growth rate, respiration rate, or death (Majewski and Miller , 1995).

The thermal pollution has effects difficult to define with precision. One observes significant interferences of the reduction in the salinity of water and variation of this one in time and space .Several actions of such a pollution were however determined . It was in particular established that the hotter the temperature of rejected water is and more harmful is its effect on the benthic organisms(Rute and Siliva, 1996).

As water temperature increases many of the effects to aquatic life associated with the increased rate of metabolism. The metabolic rate doubles for each 10 ˚C rise in temperature , this in turn cause an increase demand for oxygen by the organisms (Master, 1998).

Arther (1980). simulated the temperature field in Missouri River . It was found that the Missouri river could be used for once-through cooling of   a limited number of future power plants based on present thermal standards.

Rodi and Weiss (1982). describes an experimental investigation in which heated water was discharge coaxial into rectangular open channel flow from a slot placed at channel center .The isotherms show the rise  and the spread of the warm water at the surface of the warm water , the detachment of warm water from the bottom can be obtain using this model.

Daws  (1990) presented an analytical and numerical analysis of the cooling process of hot water discharges from a steam power plant into rectangular pond. The flow pattern is found to be strongly affected by the type of configured aspect ratio  .

Li-Renyu and Righetto (1998). found that the simulation of velocity and temperature field in the estuary of the Yangtza River in Brazil by using (K-ε) model can provide more details of flow fields and temperature distribution than that once obtained by using phenomenological algebra for models of eddy viscosity and diffusivity.

Joody (2001). simulated the spreading of the thermally polluted water disposed into the river flow downstream  Al-Daura power station . The results are discussed for two cases, the first cases neglects the effect of vertical velocity while the second case include it.

Joody (2001). has developed two- dimensional model to describe the temperature distribution is released from multi-source of thermal pollution . The results show that the model sensitive to the temperature difference between heated water temperature of sources and to the distance between sources .

The main objectives of the present work are to apply a two-dimensional model to simulate the thermal pollution in Tigris river downstream South-Baghdad power station then to study the effect of time period of disposal of  heated water on temperature distribution .

Numerical Model

Numerical model of thermal pollution is a set of partial differential equations as follows(Roberson and Crowe, 1997; Babarutsi and Chu , 1998):

- Momentum Conservation Equations :

- Horizontal Momentum Equation :

….……1

- Vertical Momentum Equation :

…2

- Thermal Energy Equations :

…3

- K-ε turbulence model :

- K-Equation :

………..4

- ε- Equation :

…………5

- Longitudinal velocity  distribution:

U=2.5Uf Ln(Y/Yo)                                                                ………..6

- Pressure distribution a long the river depth

………..7

The set of partial differential equations above are solved by finite difference technique . Assumption are used to  transform these equation from non-linear to linear equations (Smith., 1978). These equations are formalized and simplified in a two-dimensional numerical model using Alternative Direction Implist-Explicit method (ADI) with Upwinding technique. The resulting system of linear equations were then solved using Gauss-Elimination method . A computer program was used to perform computation of the simulation model . It was written in Fortran-77 which work with Visual Fortran -97 language .

Field Data

A visit to the South-Baghdad power station was carried out in order to prepare  the data of river water temperature required for the research. The information about Tigris river obtained from (Euphrates Company for studying and design of irrigation projects ,2002).Observed data were collected from this plant and predicted data were computed from the numerical model are shown in table (1) .

Table 1: Observed and Predicted Data at Water Surface of River and Time Interval (Δt=1 sec )

| Distance (m) | Observed Temperature˚C | Predicted Temperature ˚C | Absolute Error% |
| --- | --- | --- | --- |
| O | 47 | 47 | 0 |
| 50 | 39 | 45 | 15.4 |
| 100 | 34 | 37 | 8.8 |
| 150 | 32 | 34 | 6.3 |
| 200 | 30.5 | 31 | 1.6 |
| 250 | 29 | 29 | 0 |
| 300 | 29 | 29 | 0 |
| 350 | 29 | 29 | 0 |
| 400 | 29 | 29 | 0 |

Results

The comparison between the observed data obtained from South-Baghdad power station with predicted results obtained from the numerical model was carried out for model verification .The results of this comparison show a good agreement with maximum absolute difference about (15.4% ) and correlation factors is ( 0.961   ) as shown in figure (1).

Figure 1: The comparison between Observed Data from power    plant and Predicted Data from a numerical model .

Discussion

Figures (2,3,4,5) show the effect of period of disposal heated water on the longitudinal and vertical temperature distribution . The field measurements were conducted at effluent temperature of 47 ˚C with river temperature of 29 ˚C and 500m reach of Tigris river downstream South-Baghdad power station  . From these figures can be seen :

- Increasing the period of disposal causes a longitudinal advance of thermal pollution . For example, the pollution had reach to (200m, 300m, 375m, 425m) in length at period of disposal equal to (100sec, 200sec, 300sec, 400sec) respectively. This can be attributed to the effect of longitudinal convection which increase with increase of period of disposal heated water .

- Increasing the period of disposal causes vertical advance of thermal pollution . For example, from figures (2,3,4,5) , at depth of  3m and 50m out of outfall, the temperature had reach to (32˚C, 34˚C, 34.4 ˚C, 35˚C) respectively . This can be attributed to the buoyancy force and the increase in vertical diffusion with increase of period of disposal heated water .

Figure 2 : Effect of Period of Disposal on Temperature Distribution (t=100sec)  ]

Figure 3 : Effect of Period of Disposal on Temperature Distribution (t=200sec)

Figure 4 : Effect of period of Disposal on Temperature Distribution (t=300sec)

Figure 5 : Effect of period of Disposal on Temperature Distribution (t=400sec)

Conclusions

- The formulation and scheme of the numerical model can be used to find the temperature distribution released from South-Baghdad in Tigris River . This is because of the good agreement of the model results with those obtained from field .

- The period of disposal heated water has a considerable effect on the temperature distribution in Tigris river . Increasing the period of disposal from (100 to 200sec) , from (200 to 300sec) and from (300 to 400sec)  caused a longitudinal advance of thermal pollution about ( 33.4%, 20%, 11.8% ) respectively, and caused vertical advance about (66.7%,  20%,  13.4%) respectively .

- The difference of ratios caused by variation of some parameters such as : weather conditions, river velocity in addition to the effect of  buoyancy force were these parameters affect with period of disposal along the study .

References

Majewski W and Miller D.C. , (1995). Prediction effects of power plant once-through cooling on aquatic system ,   a slate of the art report of IHP working group 6.2 on the effect of thermal discharges, UNESCO.

Rute N. and Siliva L., (1996). "Effect of Thermal Pollution" http//www.outreach.ecology.uga.edu./Watershed/Watershed. htm. Internet.

Master G.M., (1998). Introduction to Environmental Engineering and Science, McGraw Hill Book, U.S.A..

Arther R., (1980). "Cooling potential of Moissour River in Missouri "Journal of Hydraulic Division , Vol.106, No.11, PP.1813-1825.

Rodi W. and Weiss K., (1982). " Experiments on coaxial heated water discharges " Journal of Hydraulic Division , Vol.108, No.6, PP.737-746.

Daws  K.M., (1990). Heated exchange and dissipation in large water bodies , M.Sc. Thesis, College of Engineering, University of Baghdad, Iraq, 1990.

Li-Renyu and Righetto A.M. (1998). "Tidal and transport modeling using turbulence K-ε model "Journal of Hydraulic Division , Vol.124, No.3, pp.212-221.

Joody A.S., (2001).  Studying of the Heated Water Released from AL-Doura Power Station, M.Sc. Thesis, College of Engineering, University of AL- Mustanseryya, Iraq.

Nasir M.J., (2005). Two-Dimensional Numerical Model for Thermal Pollution of Multi-Point Sources in Rivers , M.Sc. Thesis, College of Engineering, University of Baghdad, Iraq .

Roberson J.A. and Crowe C.T., (1997).  Engineering Fluid Mechanics  John Wiley and Sons, Inc,New York, U.S.A .

Babarutsi S. and Chu  V.H., (1998). "Modeling transverse mixing layer in shallow open- channel flows " Journal of Hydraulic Engineering , Vol. 124, No.7 , pp.718-727 .

Smith G.D., (1978).   Numerical solution of partial differential equations - finite difference methods,  Oxford University Press, England.

Euphrates Company for studying and design of irrigation projects (2002).  Tigris River training inside Baghdad City ,  Baghdad,  Iraq .

list of symbols :

| Symbols | Description | Units |
| --- | --- | --- |
| C1 , C2 | Constants in K-ε Turbulence Model |  |
| Cp | Specific heat | W.S/(kg.˚K) |
| g | Acceleration duo to gravity | m/s2 |
| H | Heat exchange across the water surface | Kg.˚K/(m2.s) |
| K | Turbulent Kinetic energy | m2 /s2 |
| P | Pressure | N/m2 |
| R | Correlation factor |  |
| Tr | River water Temperature | ˚C |
| Td | Heated Water Temperature | ˚C |
| t | Period of disposal of heated water | sec |
| U | Velocity in X-Direction | m/s |
| Uf | Friction Velocity | m/s |
| W | Velocity in Z-Direction | m/s |
| X | Horizontal Coordinate | m |
| Z | Vertical Coordinate | m |
| G | Rate of Production of turbulence kinetic energy |  |
| α | Heat Transfer Coefficient | W/(m2 .k) |
| ε | Dissipation Rate | m2 /s2 |
| μ | Viscosity | N.s/m2 |
| ρ | Density | kg/m3 |
| σ | Prandtle Number |  |

General flow chart for the Computer Program

# Text boxes

START

Reading Hydraulics Parameters    L,H,Ur,SI,Td,Tr,ΔX,ΔZ,.ΔT,t

Read Initial Conditions

Read Boundary Conditions

Calculate the Pressure and Density

Calculate  the Velocities Component

Calculate the Temperature  at each point

Print Temperature Distribution

STOP