Propriety of Drinking water in some refinery units in najaf  governorate

Muhand .I.Jafer                                              Sadiq. K . Al-Zurfi                                                Coll. Of engineering /kufa univ                           Coll. Of Science /kufa univ.

Hazim .A. N.Al-Hadrawy                               Yaser. A. Fadhl

Coll. Of Science /kufa univ                                  Najaf environment

Abstract

The physico – chemical properties of  water samples from some  refinery units in najaf  governorate studied during six month are (May, June, July, August, September & October) of  2007  . The current study  included  measurements of (pH ,EC ,temperature , Turbidity, Total alkalinity, dissolved oxygen, T.D.S, Total hardness, Chloride in addition to nutrients such as  nitrate) in seven  stations (Manadira,Heara,Najaf city ,Kufa city ,Qadisiah,Abbassai and Hereia). The results revealed that the averages of  pH values of all stations ranged between (6.5-8.0) and consider within normal value for internationalism limits (U S EPA,1981) as (6.5-8.5) . mean while values of turbidity were increased in  station in which the highest value during August  was (57) NTU in Qadisiah  and decrease in Manadira  station in which the lowers value during May  was (2.8) NTU comparing for internationalism limits (WHO,1984) are as (5) NTU . Total hardness were increased in Abbassai station in which the  highest value of hardness during June was 546 mg/l comparing Iraq  limits ,1986 as (500) mg/l .In addition the  Electrical conductivity values averages of all  stations ranged between(1100-1467) µs/cm while the Dissolved oxygen averages of all  stations ranged between (3.6-7.8 ) mg/l , the TDS averages of both  stations ranged between (535-734) mg/l comparing for internationalism limits (U S EPA,1981) as (500) mg/l. The highest  concentrations of Nitrate in Kufa station were 48 mg/l during August and 0.92 mg/l. during June  in Manadira  station comparing for internationalism limits (WHO,1984) as (10) mg/l. The highest value of Total alkalinity  was 385 mg/l in the Heara  station during June comparing Iraq  limits ,1986 as (200) mg/l and increased the chloride value in Abbassai station during  May  as 280 mg/l for internationalism limits (WHO,1984) as(250) mg/l .

الخلاصة

تضمنت هذه الدراسة قياس بعض الصفات الفيزيائية والكيميائية لمياه الشرب لبعض محطات التصفية في محافظة النجف لمدة ستة اشهر (أيار ، حزيران، تموز ، آب ، أيلول، تشرين الاول ) للعام 2007. وتناولت الدراسة قياس( الأس الهيدروجيني pH والتوصيلية الكهربائية Ec ودرجة الحرارة Temperature و والعكورة والقاعدية الكلية والاوكسجين الذائب والمواد الذائبة الكلية والعسرة الكلية والكلورايد بالاضافة الى المغذيات وتمثلت بالنترات) في سبعة محطات تصفية هي (المناذرة ، الحيرة و تقوية النجف ، الكوفة ، القادسية ، العباسية ، الحرية ) اظهرت النَتائج أن معدلات قيمِ pH لكل المحطات تَراوحت بين (6.5-8.0) وهي ضمن الحدود الطبيعية للمحددات الدولية (U S EPA) لسنة  1981 وهي (6.5-8.5) . بينما سجلت قيم العكورة زيادة في محطة تصفية القادسية  حيث سجلت اعلى قيمة لها خلال  شهر آب وكَانت ( NTU57) واقل قيمة في محطةِ تصفية المناذرة خلال شهر ايار وكَانت (NTU 2.8) مقارنة بالمحددات الدولية(WHO) لسنة 1984  وهي (NTU 5). سجلت اعلى قيمة للعسرة الكلية في محطة العباسية خلال شهر حزيرانِ وكَانت 546 ملغم / لتر مقارنة بالمحددات العراقية لسنة 1986 وهي (500) ملغم / لتر, بالإضافة الى ان معدلات قيم التوصيلة الكهربائية لكل المحطات تَراوحت بين (1100-1467) مايكروسيمنز /سم  بينما معدلات الأوكسجينِ المذاب لكل المحطات تَراوحت بين (3.6-7.8) ملغم / لتر ، وتراوحت معدلات المواد الذائبة الكلية  بين (535-734) ملغم / لتر مقارنة بالمحددات الدولية (U S EPA) لسنة 1981 وهي (500) ملغم / لتر. وسجلت اعلى قيمة للنترات في محطة تصفية الكوفة وكَانت 48 ملغم / لتر خلال آب واقل قيمة كانت 0.92 ملغم / لتر خلال حزيرانِ في محطةِ المناذرة مقارنة بالمحددات الدولية(WHO) لسنة 1984 وهي (10) ملغم / لتر. اعلى قيمة للقاعدية الكلية كَانت 385 ملغم / لتر في محطة الحيرة  خلال حزيرانِ  مقارنة بالمحددات العراقية لسنة 1986 وهي (200) ملغم / لتر ، بينما سجلت قيم الكلورايد في محطة العباسية خلال ايار  كانت 280 ملغم / لترمقارنة بالمحددات الدولية(WHO) لسنة 1984 هي (250) ملغم \لتر .

Introduction

Water is a common chemical substance that is essential to all known forms of life(Laurence ,et al 1997). Drinking water plays an important role in the bodily intake of true element by human, such as man. Such as elevated levels of essential as well as non essential element can cause morphological abnormalities reduce growth, increase mortality and mutagenic effects (Nkono and Asubiojo, 1998; Adeyeye, 2000). Safe drinking-water is a basic need for human development, health and well-being, and because of this it is an internationally accepted human right (WHO,2001). Contamination of drinking-water is a significant concern for public health throughout the world. Microbial hazards make the largest contribution to waterborne disease in developed and developing countries. Nevertheless, chemicals in water supplies can cause serious health problems - whether the chemicals are naturally occurring or derive from sources of pollution. Often, identification and assessment of risks to health from drinking-water relies excessively on analysis of water samples. Chemical contaminants of drinking- water are often considered a lower priority than microbial contaminants, because adverse health effects from chemical contaminants are generally associated with long-term exposures, whereas the effects from microbial contaminants are usually immediate. Nonetheless, chemicals in water supplies can cause very serious problems (WHO,2004).Temperature is one of major factors that effects in distribution of organisms in habitat also the change in water temperature cause soluble most poisonous materials(Hodges,1989 ).Many organic molecules as well as salts, sugars, acids, alkalis, and some gases (especially oxygen), are soluble in water.(Dawn,et al 2006). Many recent studies for physical and chemical properties  such as study of Taha et al ,2003 on refinery units in Kerbala  governorate showed that the values of Nitrate(NO3), NO2,total hardness and phosphorus was higher that normal values whereas the study of Al-Hadrawy,(2003) on refinery units in najaf  governorate showed the presence of bacterial pollution in the steps of purification and sterilization of drinking water,and study Jezrawi and Alhindawi (1986) on drinking water supplies in Baghdad city , and study Naoom (1998) in compare for pollution the river water and  drinking water of three stations returner to Baghdad city. Because of the importance of drinking water to human ,the aim of our study is determination Propriety of drinking water in refinery units in  najaf  governorate.

Methods& Materials

7 stations of drinking water refinery unit in Najaf governorate were include in this study as the following :

- Manadira water refinery unit.(A)

- Heara water refinery unit.(B)

- Najaf water refinery unit.(C)

- Kufa water refinery unit.(D)

- Qadisiah water refinery unit. (E)

- Abbassai water refinery unit.(F)

- Hereia water refinery unit. (G)

The samples were collected from these  stations monthly ,from May–October 2007.The physico-chemical properties(Temperature,pH, Electric conductivity (EC),Turbidity ,Total dissolved salts (T.D.S), dissolved oxygen (DO) , Total hardness , Total alkalinity ,Chloride ion ,Nitrate ) were determined immediately according to (APHA,2003)

The air Temperature was measured by mercuric thermometer which was divided (0-100) °C. The water temperature was  measured  directly in the field by Digimeter pH 21. pH was measured with a pH meter (digital pH 21) and conductivity measured with Portable Conductivty Meter Bischofi17 unity by (µS/cm) after standardizing with KCL and NaCl solutions.

Water Turbidity was measured in the laboratory by the turbidity meter (type Hana, made in Italy).

DO was measured according to Azide modification of Winkler method ,Total hardness by EDTA titration using erichrome Black (T) indicator.

The reactive nitrate was measured according to cadmium column procedure.

Results and Discussion

The variation of water temperature  among stations are shown in ( figure 1). Which was the between 24.7 to 32.8 C◦ in kufa and Heara station during September & October respectively. This variation may due to high heat capacity and lower frequency of water to valuation temperature (Lampert and Sommer, 1997( . No significant variation found between temperature values and the sites during the study period.pH values were ranged from 6.5 to 8.0 at Kufa and Qadisiah site in May respectively (figure 2). These values situate in normal value of water and control it through relationship between hydrogen ion separated from carbonic acid and hydroxyl radical that  produced from bicarbonate lyses (Wetzel, 2001) . The highest desirable level of pH was within the range of 7.0-8.5 (WHO,1990). Conductivity values were ranged from 1100 µs/cm recorded in June at Najaf site ,to 1467 µs/cm at Heara site in September (figure  3).It depends on the presence of ions, their total concentration and temperature ( Jorma and Arjen ,2007). Electrical conductivity (EC) is a measure of the ions present in water, as the conductivity increases with the number of ions: it is also effectively a surrogate for total dissolved solids (TDS) (Metcalf and Eddy 2003). Weiner (2000) Refer that the Electrical conductivity associated with the TDS& TSS. There was significant difference between the sites at (L.S.D 0.05= 36.28) .There was negative significant relation between electric conductivity values and water temperature(r=-0,68601) and positive significant relation between electric conductivity and water T.D.S (r= 0,984). show (figure 4) presence significant variation at (L.S.D 0.05 =18.414) between months and station of TDS  , the lowers value was 535 mg/l in Najaf station during August and recorded highest value was 734 mg/l in Heara station during September.

Water has been classified on the basis of hardness as follows (Adeyeye and Abulude , 2004). water has 0-75mg CaCO3 L-1 as soft, 75-150mg CaCO3 L-1 as hard while samples having total hardness of over 300mg CaCO3 L-1 was hard. Based on these, water samples in this study fell under hard  water, if reach the high value 546 mg/l in Abbassai station during June 2007 and low value was 250 mg/l in Najaf station during July (figure 5) The degree of hardness of water was low and this might encourage the dissolution of heavy metals(Adeyeye and Ayejuyo ,2002).A significant difference was recorded between site Abbassai and other site . high carbonate cause calcium and magnesium ions to form insoluble minerals leaving sodium as the dominant ion in solution (Bauder et al. 2004). Turbidity is caused by materials suspended in the water and consequently it is an indirect measurement of total suspended solids (Jorma and Arjen ,2007). The turbidity in water samples in this study of was (2.8 & 57 ) NTU in Manadira  station during May & in Qadisiah station during August respectively (figure 6) if observe the highest  value no situate included normal value of drinking water. The normal value of drinking water turbidity less 5 NTU (WHO,1990). the increase of turbidity may due to clay and silt particles or presence of  high number of microorganism in this station.A significant difference was recorded between  the months in one site also between stations in one month so interaction between the months and stations.figure (7) showed the values of  Dissolved oxygen which ranged from (3.6-7.8 ) mg/l .The dissolved oxygen concentration of the samples showed that the samples were oxygen –rich although. The variation of dissolved oxygen values may be associated with temperature variation )Howard , 1998), pressure and concentration of different ions in water (Wetzel and Linkens , 2000). The highest value of Total alkalinity  was 385 mg/l in the Heara  station during June and increased the chloride value in Abbassai station during  May 2007 as 280 mg/l(figure 8 and 9) respectively. The statistical analysis showed a significant difference between site Heara and other sites.

Water alkalinity is was higher than the normal value as 200 mg/l  (WHO,1990). Recorded the highest  concentrations of  Nitrate in Kufa station were 48 mg/l during August and 0.92 mg/l (figure 10). during June  in Manadira  station, the increase of Nitrate concentrations during summer may be lead to increase of evaporation due to high temperature that cause increase dissolved salts and high organic decomposition)Al - Lami etal.,1999).And these increasing which that high normal value may be acute toxin to infants under six months of age. In infants, it causes a condition known as methemoglobinemia, or “blue-baby syndrome,” which can be fatal. Because when bacteria in the digestive tract of infants change the nitrate into nitrite, a much more harmful substance. The nitrite then enters the bloodstream, where it can lower the blood’s ability to carry oxygen to the body, causing a blueness to the skin.(EPA,2005)

Figure (1) Monthly Water Temperatur Variations(L.S.D.0.05=0.7)

Figure (2) Monthly Water pH Variations (L.S.D.0.05=0.157)

Figure (3) Monthly Electrical Conductivity Variations(L.S.D.0.05=36.28)

Figure (4) Monthly Total Dissolved Solids Variations(L.S.D.0.05=18.414)

Figure (5) Monthly Total Hardness Values Variations(L.S.D.0.05=221.198)

Figure (6) Monthly Turbidity Variations(L.S.D.0.05=4.37)

Figure (7) Monthly Dissolved oxygen  Variations(L.S.D.0.05=0.334)

Figure (8) Monthly Alkalinity Variations(L.S.D.0.05=23.75)

Figure (9) Monthly Chloride Values Variations(L.S.D.0.05=14.87)

Figure (10) Monthly Nitrate Values Variations(L.S.D.0.05=4.97)

Reference

Adeyeye E.I and Abulude F.O. (2004). Analytical assessments of some surface and ground water resources in Ile-Ife, Nigeria. J. Chem. Soc. Nig. 29: 98-103.

Adeyeye E.I and Ayejuyo O.O (2002). Assessment of the physicochemical status of a textile

Adeyeye E.I. (2000). Bio-concentration of macro and trace minerals in prawns living inLagos lagoon.Pak. J. Sci. Ind. Res. 43:367-373.

Al-Hadrawy,H.A.N.(2003). The bacterial pollution for the steps of purification and sterilization of drinking water  in Four stations in najaf  governorate . M.SC .Thesis. College of scie .Kufa univ.( Arabic) .

Al-Lami, A. A.; Kassim; T. I. & Al- Dulymi, A. A.(1999).  "Alimnological Study on Tigris River" ,Iraq.,The  Sci.,J., of Iraqi Atomic Energy Commissionm, Vol, 1 ,pp83-98.

APHA, AWWA, WPCF (2003).Standard methods for the examination ofwaterand wastewater. 14thed. American public Health Association, Washington, DC.

Bauder, T. A., Cardon, G. E., Waskom, R. M. and Davis, J. G. 2004. Irrigation Water QualityCriteria. http://www.ext.colostate.edu/pubs/crops/00506.html.

Dawn.B.Marks,Allan.D. Marks,Colleen.M.smith.(2006).Basic medical biochemistry .A clinical approach .pp:921.

Environmental Protection Agency.EPA(2005). Nitrate in Public Drinking Water. Division of Drinking and Ground Waters, 122 South Front Street, Columbus, Ohio 43215 (614) 644-2752www.epa.state.oh.us

Hodges,L.(1989). Environmental pollution . 2nd ed,Lowastate.Univ. of Holt, Rinehart &Winston. New York.USA.

Howard , A. G. (1998) Aquatic environment chemistry . Oxford Science Publications. industry’s effluent and its environment. Pak. J. Sci. Ind. Res. 45:10-16.

Jazrawi, S.F. and Al-Hindawi,A.K.(1986).Bacterial contamination of drinking water supplies in Baghdad city.J.Bid.scie.Res.,17(2): 313-320.

Jorma ,Niemi and Arjen .Raateland (2007). River water quality in the finnish Euro water net .Boreal environment research .12:571-584.

Lampert , W. and Sommer , U. (1997) Limnology . The ecology of lake and stream . Oxford Univ. press . Avenue – New York .

Laurence D. Barron,* Lutz Hecht, and Gary Wilson(1997) .The Lubricant of Life: A Proposal That Solvent Water Promotes Extremely Fast Conformational Fluctuations in Mobile Heteropolypeptide Structure Biochemistry, 36 (43), 13143 -13147, 1997. 10.1021/bi971323j S0006-2960(97)01323-8 .Copyright © 1997 American Chemical Society)

Metcalf and Eddie. 2003. Wastewater Engineering Treatment and Reuse, Forth Edition. ,New York, USA: McGraw Hill.pp:1856.

Naoom,C.A.A.(1998). Compare for pollution the river water and  drinking water of three stations returner to Baghdad city.M.Se.thesis .College of scie .Al-Mastenssaria univ.(Arabic).

Nkono N.A and Asubiojo O.I (1998). Elemental composition of drinking water supplies  resources in Ile-Ife, Nigeria. J. Chem. Soc. Nig. 29: 98-103.

Taha ,D.N.,Haddaw,S.M.,Mushkoor,M.S.(2003).Chemical and biology assessing for drinking water in kerbala governorate .J. kerbala .univ.(3):163-168. Arabic .

Weiner , E. R. (2000) Application of environmental chemistry . Lewis puplshers , London , New York .

Wetzel , R. G. (2001) Limnology , lake and river ecosystems . 3rd ed. Acadimic pres , An Elsevier imprint , sanfrancisco , New York , London .pp:1032

Wetzel , R. G.& Likens ,G.E. (2000) Limnological analyses , 3rd ed.Springer.pp:425

World Health Organization .WHO (1990). Guidelines for drinking water quality, Vol.2. Health Criteria and other supporting information, Geneva; WHO.

World Health Organization .WHO (2001). World Health Organization report ,2001.Mental health-New understanding ,New hope. Geneva. World Health Organization.

World Health Organization .WHO (2004). Guidelines for drinking water quality, third edition .Vol.1. recommendations .pp:494.