The Electrical Conductivity of Some Transition Metal Complexes with 2,2`-Bipyridyl in Different Solvents at 298.16K

# B.A. Akrawi	and  A.M.J. Ali

Department of Chemistry, College of Science, University of Mosul,
Mosul (Iraq)

(NJC)

(Received on   8/1 /2008)                   (Accepted for publication 9/ 6/2008)

## Abstract

The aim of this research is a conductivity study of Mn(II), Co(II), Ni(II), Cu(II) complexes with 2,2`-Bipyridyl (bipy) in water, methanol and ethanol as solvents at 298.16K. The data were analyzed by using Lee-Wheaton (LW) conductivity equation for asymmetric electrolytes. The conductivity parameters: ionic conductivity (), association constant (KA) and the average distance parameter between the ions  (R) at the best fit values of the standard deviation s() have been calculated.

The results are discussed on the basis of the solvent effect on the conductivity parameters of these complexes.

Key words: 2,2`-bipyridyl complexes, different solvents, conductivity.

الخلاصة

يتضمن البحث دراسة التوصيلية الكهربائية لمعقدات ايونات العناصر الانتقالية (Cu, Ni, Co, Mn) مع مركب `2,2-ثنائي البريديل في مذيبات الماء، الكحول المثيلي والكحول الاثيلي عند درجة حرارة 298.16 مطلقة. تم حساب التوصيل المكافئ والتركيز باستخدام برنامج حسابي بلغة فورتران 90 (AM1). اما متغيرات التوصيلية: التوصيلية الايونية ()، ثابت التجمع الايوني (KA)، ومعدل المسافة بين الايونات (R) عند القيم المثلى للانحراف القياسي     s()تم حسابها باستخدام معادلة لي-ويتون في التوصيلية.

وتم مناقشة النتائج حسب قواعد تأثير المذيب على معطيات التوصيلية لهذه المعقدات.

### Introduction

Interest in the 2,2`-Bipyridyl (bipy) and 1,10-phenanthroline (phen) compounds has been renewed because of their interesting redox and photoredox properties 1. In the case of Cu(I) compounds of these ligands, many systems have been shown to have strong antimicrobial effects. With these ligands, eight-coordinate structures (tetrabidenate) have been proposed for the larger metal ions such as Sr,Ba,Pb and even for Mn(II) 2.Recently have been interested in the catalytic activity of some Cu(I) and Cu(II) complexes with 2,2`-Bipyridylamine3. They have also isolated some new complexes of this ligand with Cu(I) halide and investigated their autoxidation in methanol.

Ligand based on six-membered rings belong to the most intensively studied class of chelating ligands with 2,2`-Bipyridyl and 1,10-phenanthroline. In the case of octahedral geometry, the steric effect of the hydrogenes at the six position in bipyridyl is less severe (see figure 1), because the bulky groups are directed to the outside of the molecule. In fact the octahedral species such as [M(bipy)3]2+ are very stable and often kinetically inert (specially with d3 and d6 low-spin metal ions) with Fe2+, low-spin species are observed 2.

Figure 1

Studies of complexation equilibria of the antibiotic anions natidixate and cinoxacinate with [Cu(phen)]2+ and [Cu(bipy)]2+ are reported. These studies indicate that the stability of this type of complex is strong related to the metal environment. A correlation between the stability constants, determined with the sigma donation character of the ligand is proposed. This study shows that the stability constant for the reaction between the quinolones and the moiety [Cu(N-N)]2+ is dependent on the coordinate diamine to the metal ion. This is in agreement with previous studies where other physical properties as their electronic absorption spectra in the visible region, display similar behaviour. These results suggest that inside the living cells, a possible interaction with some metal ion will be strongly controlled by the type of ligand bound to the cation 4.

New mixed-ligand Cu-(II), complexes: [Cu(cf)(phen)(Cl)](BF4)]. 4H2O, [Cu(cf)(bipy)(Cl)](BF4)].2H2O, and [Cu(cf)(dafone)(Cl)](BF4)]. 2H2O, [cf= ciprofloxacine and dafone = 4,5-diazofluoren-9-one], have been isolated and characterized. The antimycobacterial activity of ciprofloxacin and the complexes above has been evaluated against Mycobacterium smegmatis, which shows clear enhancement in the antitubercular activity upon copper complexation with N-N donors 5.

Because of widespread emergence of resistant Mycobacterium tuberculosis in AIDS patients, the activity of 2,2`-Bipyridyl was studied in vitro 6, which show great promise in chemotherapy of tuberculosis and M. avium infection.

Lee- etal. 7 studied the structure in oriented wet-spun films and fibers for NaDNA-bipyridyl-(ethylenediamine)platinum (II) (Abbreviated [(bipy)Pt(en)]2+ complex, to understand the interaction of DNA with this ligand which is of tremendous importance for developing theoretical models of biological process such as replication and transcription and for the development of new anticancer drugs that bind to DNA. The author found that the attachment of the [(bipy)Pt(en)]2+ changed the winding of the DNA double helix. The data also showed that the [(bipy)Pt(en)]2+ compound changes the winding of DNA less than the ethidium ion does.

Electrolytic conductivities for copper (II) and manganese (II) sulfates in ethanol+water, ranging in mole fraction of ethanol from 0 to 0.28, have been measured at 298.16K. The limiting molar conductivity 0, and association constant KA, were derived from concentration – conductivity results with the Lee and Wheaton conductivity equation. The results are discussed on the basis of the solvent effect on the conductivity parameters of these salts 8.

### Experimental

Chemicals and Reagents:

2,2`-Bipyridyl & KCl (Fluka analar grade) and the transition metal chlorides were reagent grade (BDH) products and were used without any further purification.

Solvents:

Absolute methanol and absolute ethanol were of (BDH) products.

Conductivity water:

Conductivity water was prepared by redistilling distilled water three times with addition of a little amount  of potassium permanganate and small pilletes of KOH. The specific conductance of this water was less than 1.210-6 µSiemens cm-1.

Instruments Used for the Analysis of the Complexes:

BRUKER B.M. 6.is used for measuring the Magnetic susceptibility. A SHIMADZU UV-Visible spectrophotometer (Computerized UV-1650 PC) is used  for measuring  electroning spectra .IR mesurment carried out by two instruments :  Perkin-Elmer 590B infrared spectrophotometer (200-4000 cm-1) and Thermo Nicolte, Fourier-Transform infrared (FT-IR) spectrophotometer 2002 (500-4000 cm-1). The conductivity measurements were made using (WTW) conductivity meter (model LBR) with a frequency range of   50Hz-3KHz and sensitivity between 10-1 and 10-9 Siemens.

Preparation of complexes:

In order to prepare the complexes 9,10, Tris (L)M2+Cl2 where L=2,2`-Bipyridyl and M+2=Mn+2, Co+2, Ni+2 and Cu2+, a 6mM (0.9371) of the ligand dissolved in a minimum amount of absolute ethanol added to 2mM of each metal chloride dissolved in a minimum amount of absolute ethanol, then refluxed for 1hr on water bath. The crystals of the complex precipitated by evaporating the excess of solvent to a minimum amount and cooling the solution, then a little amount of diethylether added. The product was filtered and washed with diethylether then dried under vacuum and the yield was identified by magnetic suceptibility by applying Faraday Method. The instrument used is of a type BRUKER B.M.6. The electronic spectral measurements were by Shimadzu (computirized) UV-Vis by using quartz cell with diameter (1cm). The spectrum and data were printed by Epson printer at 298.16K. Infrared spectra for the complexes were obtained using a Perkin-Elmer one B infrared spectrophotometer (model 2000). These measurements confirm the structure and the purity of the complexes.

The apparatus used for measuring the condictivity was (WTW) conductivity meter (model LBR) with a frequency range 50Hz-3KHz, sensitivity between 10-1 and 10-9 Siemens .

Conductivity Measurements:

Because the conductivity measurements in water, methanol and ethanol are highly sensitive to atmospheric carbon dioxide, the whole system is completely isolated from the outside atmosphere and isolation was maintained during the addition of solute.

The design of the conductance cell and the nitrogen line was the same as that previously used 11.

The cell constant for the conductivity cell was measured using the method of Johnes and Bradshow 12. Solution of 0.001M and 0.01M KCl was prepared from KCl. The cell constant was checked regularly and found to be 0.05887cm-10.001. The electrodes used were of platinum type (WTW). Plastic syringes (1ml) with a fitting plunger were used for injection the stock solution into the conductivity cell. This syringe was found to be more efficient due to the very small losses of weight (by evaporation) due to closer-fitting plunger.

Nitrogen Line:

## A nitrogen gas line was used which passed through several traps: a trap of lime water for carbon dioxide absorption, a trap of pyrogallol in KOH for oxygen absorption, another two traps one for concentrated sulphuric acid and the other for calcium chloride for water absorption.

General Procedure:

A general method has been used for measuring the conductance of the elctrolytes. The conductivity cell was dried, weighed empty and kept at a constant temperature (25+0.01C). Purified nitrogen was passed through the cell then 100ml of solvent  was added to the cell and the nitrogen gas was passes again for 10-15min. until the conductance of the solvent was constant, then the cell plus contents where weighed. 
A certain amount of the concentrated complex solution was injected into the conductivity cell from a plastic syringe (which was weighed before and after each addition)13.

Nitrogen gas was passed for several minutes and the conductivity of the solution was measured. This procedure was repeated for about 
15-19 times for each run. After all additions where completed, the cell was dried, reweighed to find the weight change which had taken place through the run. This loss was found to be not more than 0.02%.

### Results and Discussion

The results of the present work were analyzed by using 
a conductance equation due to Lee and Wheaton, based upon a model for ions in solution, describes charge transport in solutions containing any number of ionic species of any velancy type. This equation is used to analyze the data for some unsymmetrical transition (2:1) metal complexes, [Mn(bipy)3]Cl2, [Co(bipy)3]Cl2, [Ni(bipy)3]Cl2, and  [Cu(bipy)3]Cl2 in water and methanol, [Co(bipy)3]Cl2, [Ni(bipy)3]Cl2, [Cu(bipy)3]Cl2 in ethanol at 298.16K.

For unsymmetrical electrolyte MX2 ionizing into M+2 ,MX+and X-, the possible association equilibria are:

Therefore, three ionic species are present in the solution, which are, M2+, MX+ and X-.

 Λequiv.=i=1sZimiλic……(3)

where equiv. Is the equivalent conductivity of the solution, s is the number of ionic species; i, mi, zi are the equivalent conductance, molar free ion concentration and charge of the ith-species respectively, c is the stoichiometric equivalent concentration.

For 2:1 associated salts:

ΛMX2=f(λM,λMX,λX,KA(1),KA(2),R)…(4)

where R is the average center to center distance for ion-pairs.

A multi-parameter “least square” curve fitting procedure is used to give the lowest value of the parameter s () between the experimental and calculated points. An iterative numerical method, which was found to be very successful, has been used to find the minimum s ()14. In this case:

………. (5)

s(

σ(Λ)=n=1NP(Λcalcd.−Λexpt)2NP12

(

NP = number of points)

The input data of the computer program are solvent parameters: [T(temp.), D(dielect constant), (viscosity); the charge Zi and i0 for each ionic species, KA(1) (min.), KA(2) (max.), KA(1) etc., then the experimental data which are the molar concentration and the equivalent conductance.

The following are the results of typical conductivity runs, Tables (1-3) and plotted in figures (2-4).

The analysis of the experimental results for the complexes in water, methanol and ethanol by LW equation (Table 4) shows that all of the salts are associated to form the new conducting species MX+:

From table (4) it is found that KA, the ion pairwise association constants of these complexes, follow the sequences KA (in water) < KA (in methanol) < KA (in ethanol)

according to decreasing the dielectric constant from water       methanol

ethanol, besides in each solvent KA decreasing in the following way:

KA[Mn(bipy)3]Cl2 > KA[Co(bipy)3]Cl2 > KA[Ni(bipy)3]Cl2 > KA[Cu(bipy)3]Cl2.

It means that the charge density of the solvated ion is the highest for Mn complex and decreases from Mn to Cu complex, our results confirm the trend of the crystallographic radii of the bare cations.

According to stokes law, the ionic mobility should be inversely proportional to the solvated ionic radius.

λi0=8.2×10−9Ziηri…..(6)

where i0 is the ionic conductance, Zi is the charge,  viscosity and ri is the radius, our results confirms the trend.

0[Mn(bipy)3]Cl2>0[Co(bipy)3]Cl2>0[Ni(bipy)3]Cl2 > 0[Cu(bipy)3]Cl2, also it is clear from Table (4) that 0M+2 of the cation for all complexes follows the sequence as:

0M+2 (in water)> 0M+2 (in methanol)> 0M+2 (in ethanol)> according to decreasing the dielectric constant of the solvent.

Our results of the distance parameter R show that all the complex electrolytes form solvent separated ion pairs (R is between 28-30A) in the three solvents. These high values of R indicated that the cations and anions are separated by many solvent molecules since the association was high. The values of () give an indication of good best-fit values.

Table (1): The molar concentration (M) and the equivalent conductance (equiv., Siemens cm2.equiv.-1) of the complexes in water at 298.16K.

| [Mn(bipy)3]Cl2 |  | [Co(bipy)3]Cl2 |  | [Ni(bipy)3]Cl2 |  | [Cu(bipy)3]Cl2 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M104 | equiv. | M104 | equiv. | M104 | equiv. | M104 | equiv. |
| 0.360 | 170.081 | 0.466 | 135.860 | 0.403 | 112.047 | 0.446 | 127.320 |
| 0.720 | 164.454 | 0.900 | 132.124 | 0.773 | 108.479 | 0.937 | 126.254 |
| 1.378 | 162.546 | 1.809 | 129.767 | 1.849 | 107.465 | 1.384 | 125.352 |
| 2.107 | 162.498 | 2.726 | 127.048 | 2.837 | 104.226 | 2.432 | 124.107 |
| 2.798 | 161.986 | 3.610 | 125.754 | 4.762 | 103.019 | 3.441 | 123.885 |
| 4.041 | 158.613 | 5.304 | 124.170 | 6.498 | 102.484 | 4.468 | 123.271 |
| 5.280 | 157.073 | 6.921 | 122.259 | 8.295 | 101.879 | 6.348 | 123.148 |
| 6.468 | 156.893 | 8.500 | 121.188 | 10.177 | 101.350 | 8.228 | 121.612 |
| 7.636 | 155.012 | 10.043 | 120.205 | 11.914 | 101.026 | 10.095 | 121.320 |
| 8.823 | 154.370 | 11.532 | 119.101 | 13.547 | 99.989 | 11.819 | 121.144 |
| 9.947 | 152.345 | 13.011 | 118.862 | 15.266 | 99.661 | 13.500 | 118.968 |
| 11.065 | 150.731 | 14.467 | 118.329 | 16.579 | 99.275 | 15.204 | 118.693 |
| 12.153 | 143.444 | 15.893 | 118.209 | 18.104 | 98.105 | 16.999 | 118.627 |
| 13.219 | 141.861 | 17.250 | 117.699 | 19.601 | 97.404 | 18.718 | 118.354 |
| 14.315 | 138.943 | 18.720 | 117.510 | 21.215 | 97.166 | 20.422 | 117.403 |
|  |  | 20.405 | 116.960 |  |  | 22.068 | 117.042 |
|  |  |  |  |  |  | 23.681 | 117.031 |
|  |  |  |  |  |  | 25.251 | 116.376 |

Table (2): The molar concentration (M) and the equivalent conductance (equiv., Siemens cm2.equiv.-1) of the complexes in methanol at 298.16K.

| [Mn(bipy)3]Cl2 |  | [Co(bipy)3]Cl2 |  | [Ni(bipy)3]Cl2 |  | [Cu(bipy)3]Cl2 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M104 | equiv. | M104 | equiv. | M104 | equiv. | M104 | equiv. |
| 0.417 | 103.985 | 0.492 | 96.263 | 0.434 | 77.597 | 0.504 | 75.888 |
| 0.869 | 89.375 | 0.960 | 91.353 | 0.830 | 76.861 | 0.940 | 67.303 |
| 1.308 | 83.658 | 1.450 | 87.705 | 1.252 | 76.428 | 1.424 | 63.987 |
| 2.202 | 76.678 | 2.437 | 83.632 | 2.160 | 73.610 | 2.439 | 60.439 |
| 3.119 | 69.936 | 3.398 | 78.805 | 3.034 | 72.727 | 3.386 | 57.092 |
| 4.016 | 64.462 | 4.327 | 75.870 | 3.897 | 71.533 | 4.375 | 56.088 |
| 5.685 | 59.834 | 6.058 | 71.387 | 5.426 | 68.052 | 6.089 | 54.509 |
| 7.330 | 56.404 | 7.711 | 68.488 | 7.023 | 65.788 | 7.806 | 51.391 |
| 8.984 | 53.534 | 9.327 | 65.072 | 8.558 | 64.943 | 9.476 | 51.069 |
| 10.587 | 51.280 | 10.974 | 64.031 | 10.020 | 63.775 | 11.087 | 50.840 |
| 12.177 | 49.898 | 12.526 | 61.489 | 11.503 | 62.161 | 12.690 | 50.386 |
| 13.651 | 48.634 | 14.062 | 59.976 | 12.927 | 61.191 | 14.274 | 49.199 |
| 15.120 | 47.131 | 15.558 | 58.549 | 14.363 | 61.054 | 15.799 | 48.935 |
| 16.595 | 46.331 | 17.024 | 57.883 | 15.768 | 58.756 | 17.324 | 48.930 |
| 18.074 | 46.231 | 18.363 | 57.476 | 17.150 | 57.446 | 18.837 | 48.885 |
|  |  |  |  | 18.517 | 55.616 |  |  |
|  |  |  |  | 19.840 | 54.117 |  |  |

Table (3): The molar concentration (M) and the equivalent conductance (equiv., Siemens cm2.equiv.-1) of the complexes in ethanol at 298.16K.

| [Co(bipy)3]Cl2 |  | [Ni(bipy)3]Cl2 |  | [Cu(bipy)3]Cl2 |  |
| --- | --- | --- | --- | --- | --- |
| M104 | equiv. | M104 | equiv. | M104 | equiv. |
| 0.432 | 25.102 | 0.414 | 31.702 | 0.522 | 21.395 |
| 0.856 | 24.815 | 0.819 | 28.996 | 0.994 | 21.092 |
| 1.291 | 22.792 | 1.245 | 27.809 | 1.993 | 21.083 |
| 2.259 | 22.240 | 2.147 | 26.792 | 2.951 | 20.933 |
| 3.202 | 21.840 | 3.044 | 26.108 | 3.906 | 20.932 |
| 4.147 | 21.006 | 3.894 | 25.758 | 5.647 | 20.827 |
| 5.945 | 20.145 | 5.530 | 24.296 | 7.345 | 20.473 |
| 7.714 | 19.868 | 7.083 | 23.541 | 8.998 | 20.223 |
| 9.385 | 19.238 | 8.695 | 23.222 | 10.618 | 19.930 |
| 11.062 | 18.943 | 10.221 | 22.260 | 12.237 | 19.919 |
| 12.691 | 18.463 | 11.673 | 20.818 | 13.822 | 19.355 |
| 14.270 | 18.372 | 13.146 | 20.305 | 15.359 | 18.880 |
| 15.842 | 17.541 | 14.620 | 19.720 | 16.882 | 18.513 |
| 17.385 | 17.486 | 16.048 | 19.194 | 18.344 | 18.333 |
| 18.888 | 17.474 | 17.450 | 18.942 | 19.809 | 18.052 |
| 20.351 | 17.474 |  |  |  |  |

Table (4): The best fit parameters of analysis of conductance data for the complexes, in water at 298.16K

| Complex | KA(1) | KA(2) | 0M+2 | 0MX+1 | R/A | s() |
| --- | --- | --- | --- | --- | --- | --- |
| [Mn(Bipy)3]Cl2 | 55 | <1.0 | 93 | 0.01 | 30 | 0.1598 |
| [Co(Bipy)3]Cl2 | 54.3 | <1.0 | 58 | 0.01 | 28 | 0.2696 |
| [Ni(Bipy)3]Cl2 | 38.2 | <1.0 | 34.399 | 0.1 | 28 | 0.1890 |
| [Cu(Bipy)3]Cl2 | 18 | <1.0 | 52.4 | 0.01 | 28 | 0.0208 |

in methanol at 298.16K

| Complex | KA(1) | KA(2) | 0M+2 | 0MX+1 | R/A | s() |
| --- | --- | --- | --- | --- | --- | --- |
| [Mn(Bipy)3]Cl2 | 1755.4 | <1.0 | 58.5 | 0.01 | 29.9 | 0.2269 |
| [Co(Bipy)3]Cl2 | 599.5 | <1.0 | 57.8 | 0.1 | 29.5 | 0.0710 |
| [Ni(Bipy)3]Cl2 | 189.5 | <1.0 | 30.9 | 0.1 | 30.5 | 0.0594 |
| [Cu(Bipy)3]Cl2 | 273.5 | <1.0 | 17.9 | 0.9 | 29.5 | 0.2706 |

in ethanol at 298.16K

| Complex | KA(1) | KA(2) | 0M+2 | 0MX+1 | R/A | s() |
| --- | --- | --- | --- | --- | --- | --- |
| [Mn(Bipy)3]Cl2 | Insoluble in ethanol |  |  |  |  |  |
| [Co(Bipy)3]Cl2 | 1000 | <1.0 | 5.0 | 0.1 | 29.5 | 0.1374 |
| [Ni(Bipy)3]Cl2 | 700 | <1.0 | 9.4 | 0.07 | 29.5 | 0.0420 |
| [Cu(Bipy)3]Cl2 | 300 | <1.0 | 1.7 | 0.01 | 29.5 | 0.1355 |

According to the equation o=KCn, where n is the slope at log o against log C and K is constant. Table (5) shows the values of each of n and K. It will be seen from this table that the value of n is generally greater for alcohol than for water, it is difficult to say what factors exactly are responsible for this behaviour. It is however, likely that this might partly be due to a difference in the dielectric constant of water and alcohols, which might affect the interionic forces to different extents. The variation in the values of n and K for different complexes in different solvents does not show any reguallar behaviour. The value of K for all the complexes generally decreases with a decrease in the dielectric constant of the solvents.

## Table (5): Values of n and K

| #### Complex | Water | Methyl alcohol | Ethyl alcohol |
| --- | --- | --- | --- |
| [Mn(Bipy)3]Cl2 | n=-0.04461 K=109.9375 | -0.22433 11.1365 | Insoluble |
| [Co(Bipy)3]Cl2 | n=-0.04073 K=90.8274 | -0.15395 22.2444 | -0.1067 8.9838 |
| [Ni(Bipy)3]Cl2 | n=-0.04382 K=73.1683 | -0.09396 32.5237 | -0.13204 8.6601 |
| [Cu(Bipy)3]Cl2 | n=-0.02618 K=99.7739 | -0.11789 22.7519 | -0.04212 14.5988 |

### References

1- Zeid, M., Wieaer, M., Yoshida, T., Sugio, T., and Nagasawa, T., Applied and Environmental Microbiology, 1998, 64(12), 4743.

2- Robert, D., Gilard, R.D., and Mecleverty, J.A., "Comprehensive Coordination Chemistry", 1st ed., Pergammon press, Oxford, England, vol. 2, p. 90,1989.

3- Lanfredi, A., Ugozzoli, F., and Canus, A., J. of Chem. Chrystallo., 1996, 25(2), 141.

4- Mendozadiaz, G., Perezalons, R., and Morenoesparzo, I., J. of Inorg. Biochem., 1996, 64(3), 207.

5- Saha, D.K., Padhye, S., Ason, S.E., and Powell, A>K., Transit. Met. Chem., 2003, 28(5), 579.

6- Dhople, A.M., Dhople, A.A., and Ibanez, M.A., Tuber Lung Dis, 1995, 76(2), 136.

7- Lee, S.A., Grim, H., Pohle, W., Scheiding, W., Van Dam, Z., Song, Z., Levitt, M.H., Korolev, N., Szabo, A., and Rupprechi, A., Physical Review E, 2000, 26(5), 7044.

8- Niazi, M., Hussain, M., Journal of Chemical and Engineering Data, 1994, 39(1), 48.

9- Palmer R.A. and Piper, t.S., Inorg. Chem., 1966, 5(5), 864.

10- Malik, W.U., Bembi, R. and Beardwat, V.K., J. Indian Chem Soc., 1980, LVII, 35.

11- Wheaton, R.J., Ph.D. Thesis, University of Surrey Guildford, Surrey,1978.

12- Jones, G. and Bradshow, B.C.J., J. Amer. Chem. Soc., 1933, 55, 1780.

13- Akrawi, B.A., Ph.D. Thesis University of Surrey Guildford, Surrey,1981.

14- Lee, W.H. and Wheaton, R.J., J. Chem. Soc. Faraday Trans, 1978, II, 74, 743.