Spectrophotometric study of  Cobalt(II) Using Organic Reagent 2-[(6– Methyl–2- Benzothiazolylazo]-4-Chl

Biet tin gi chua, vao day coi di  	http://gaigoibaucat.xlphp.net

phenol .

Kassim H. Kadhim

Dept. of Chemistry , College of Science , University of Babylon

Nassr A. Nassr, Aqeel  M. Jreo , Ahmed H. Majeed, Ahmed M. Ali.

Dept. of Chemistry , College of Science , University of Kufa

(NJC)

(Received on   6/5/2008)                   (Accepted for publication  16/7/2008)

Abstract

A sensitive and selective spectrophotometric method was proposed for studying of Co(II) using 2-[(6-Methyl-2-Benzothiazolyl)azo]-4-Chloro Phenol (6-MeBTAClP).The reaction between Co(II) and(6-MeBTAClP) reagent is instantaneous at pH=6.1, and the absorbance remains stable for over 24 h. The method allows for the determination of Co(II) over the range  (0.3 - 10.0)µg.ml-1,with molar absorptivity of( 1884.8)l.mol-1.cm-1 and a detection limit of 0.27 µg.ml-1 at 600 nm .Recovery and relative error values of precision and accuracy of method were found to be R.S.D%=1.22%,Re%=96.68% ,and Erel=3.32% .Study of complex nature shows that  (M: L) ratio was 1:2 at pH=6.1 ,and the stability constant  of  (8.33 x 107) l2. mol-2 . The  interferences of  ions (NH4+,I- ,Hg2+ ,Al3+,Cu2+, Ni2+, F-,S2O32-) on absorbance were  studied. A suitable masking agents were used for eliminating of seriously interfering ions.

الخلاصة

استخدم الكاشف العضوي 2-](6-مثيل -2-بنزوثيازوليل)آزو[-4-كلورو فينول في دراسة مع ايون الكوبلت (II) بطريقة تحليلية طيفية سهلة وسريعة وحساسة . التفاعل بين الكاشف و أيون الكوبالت (II) يتم عند دالة حامضية= 6.1   وامتصاصية المحلول تبقى ثابتة لأكثر من 24 ساعة.

الطريقة تسمح لتقدير أيونات الكوبالت (II) ضمن مدى بين(10.0-0.3) مايكرو غرام.مل-1,و بمعامل امتصاص مولا ري ( 1884.4)  لتر.مول-1.سم-1, و بحد كشف (0.27)  مايكروغرام.مل-1 عند الطول الموجي  600 نانومتر .

تم حساب دقة الطريقة التحليلية و ضبطها فكانت قيم (R.S.D=1.22 % ) و (Re=%96.68 ) و (Erel% = 3.32 % ).

درست طبيعة المعقد الذائب فكانت نسبة الفلز إلى الكاشف (2:1) عند دالة حامضية =6.1   , و ثابت الأستقرارية (8.33 x 107)لتر2.مول-2,كما درست تداخلات الأيونات(NH4+,I-, Hg2+ ,Al+3,Cu2+, Ni2+, F-,S2O32-  ) على امتصاصية المعقد.كما تم حجب تاثير الايونات التي تتداخل بشكل كبير باستخدام عوامل حجب مناسبة.

Introduction

Cobalt is an essential element for the  functioning of many  vital processes. It is extremely important in the processes of blood  formation, stimulation of hemoglobin synthesis, and the functioning of vitamins, enzymes and hormones. This metal has a  very  positive influence  on the metabolism of vitamins, such as ascorbic acid and  vitamin   B12.  Cobalt is an essential element in the human body as a component vitamin B12 and it is clear that the  monitoring of body fluids for cobalt is important for the control of nutritional  deficiencies and, perhaps, the prevention of its toxic effect in cases of occupational exposure. Finally, it is also necessary for the synthesis of a number of hormones, neurotransmitters, and other compounds, such as bile acids and DNA.(1,2)

Some chromogenic reagents have been used in   spectrophotometric methods of determination of cobalt such as, 2-[2-(5-methylbenzothiazolyl)azo]-5-dimethyl amino	benzoic(3),2-(2-Quinolylazo)-5-Diethylamino aniline(4),4-benzylpiperidinedithiocarbamate(5), 2,2`-dipyridyl-2-pyridyl hydrazone(DPPH)(6), 2-Hydroxy-3-Methoxy Benzaldehyde Thio semicarbazone(7), 4, 4`diazobenzenediazoaamioazobenzene (BBDAB)(8), 2, 2`-dipyridyl ketoxime(9), and 2-(5-bromo-2-pyridylazo)-5-diethylamino phenol(10) .

Thiazolylazo compounds have attracted the attention ,as they are sensitive chromogenic reagents in addition to being important   complexing  agents . These  dyes  are useful  in   spectrophotometric determinations due to their good selectivity over a wide range of pH and because they are relatively easy to synthesize and purify(11).

In this paper , 2-[(6-Methyl-2-Benzothiazolyl)azo]-4-Chloro Phenol (6-MeBTAClP) chromogenic reagent, which was prepared by Aqeel et al(12) , used in simple method involving spectrophotometric study of cobalt(II).

Experimental

Apparatus

Absorption spectra were made with a Shimadzu 1650 UV- Visible spectrophotometer scientific equipment with 1.00 cm cell. The PD-303 spectrophotometer ,Apel, Japan, was used in other measurements of absorbance  of solutions. The pH-meter ,720-WTW,Germany was used for measuring pHs of solutions. The water bath - 90 , Hambury , England  was used for adjusting temperations of solutions .

Reagents;

All reagents were of analytical grade . Freshly distilled water was used for solutions preparations .

-Stock Co(II) solution ;A solution of Co(II) (100 µg.ml-1 )was prepared by dissolving (0.04035)g of CoCl2.6H2O in (100 ml)distilled water. Other standard solutions of Co(II) were prepared freshly by dilution of stock solution .

-3x10-4 M (6-MeBTAClP) prepared by dissolving (0.0045)g in 50 ml of absolute ethanol .

Procedure

To an aliquot containing ≤10µg.ml-1 of Co(II) in a 10-ml volumetric flask , was added 2 ml of buffer solution , and 3 ml of (3 x 10-4 M )of       (6-MeBTAClP) solution .The solution was diluted to the mark with ethanol, and absorbance was measured at 35°C and wave length of 600 nm against the reagent solution as a blank solution prepared under the same conditions.

Results and Discussion

Study of Cobalt (II)_(6-MeBTAClP)  complex

Absorption spectra

Ultra violet - visible absorption spectra of  (6-MeBTAClP) reagent ,  Co (II) ion , and Co(II) - (6-MeBTAClP) complex  solutions are shown in fig(1).The reagent showed an absorption maximum at 430 nm , the cobalt ion at 510 nm , and the complex at 600 nm .

Fig(1);Absorption spectra of :          Co-(6-MeBTAClP) complex at pH=6.1

. M4-10×3                                   6-MeBTAClP,

Co(II) solution, 2×10-2 .

Effect of pH

The influence of pH was studied over the range (2-8) adjusted by means of dilute HCl and NaOH solution; fig(2)shows the relationship between absorbance and pH , where the maximum absorbance obtained in the range of pH=(5.0 – 6.5) . At 7.0≤pH≤5.0 a decrease in absorbance . Therefore , the optimum pH was 6.1 , where the absorbance was maximum and stable.

Fig(2);Effect of pH on the absorbance of Co- (6-MeBTAClP) complex

Effect of Time

The stability of absorbance of complex was studied from (0-120)min  at different time of intervals. Fig (3) shows the maximum absorbance  reached at 10 min , after that the absorbance remains stable till 24 h.

Effect of Temperature

The effect of temperature on the absorbance of complex was studied .The study was performed at temperature between (10-80) °C .Fig (4) shows the maximum absorbance  obtained at temperature 35°C which was regarded as a proper temperature of complex formation .At temperatures higher than 50°C the absorbance decrease due to dissociation of complex gradually.

٠

0.35

0.3

0.25

0.2

0.15

0.1

0.05

0

Fig(3) Effect of time  on the                                  Fig(4) Effect of temperature  on

stability of complex                                                       stability of complex

Determination of stoichiometry and  formation constant

The  composion  of complex  was  studied by Jobs  method   of continuous  variations  and (  mole-ratio  ) method (13,14) Fig(5,6).  Both methods  indicate that  the ratio of metal ion to reagent molecules (M:L) was  (1:2) at  pH=6.1 . The  formation  constant calculated by applied procedure  , was found to be (8.33 x 107) l2.mol-2.

Fig(5); Mole ratio plot [Reag]=[Co2+]                            Fig(6); Jobs plot [Reag]=[Co2+]

=3x10-4,pH~6.1                                                                =3x10-4,pH~6.1

Analytical characteristics

Calibration curve

Linear calibration graph through the origin was obtained which obeyed Beers law over the range (0.3 – 10.0) µg.ml-1 of Co2+ .The average molar absorptivity was found to be (1884.8) l. mol-1. cm-1 .The sandells sensitivity  (15) was(0.0312) µg.of Co2+.Cm-2 , and correlation coefficient (r) was 0.9986.

Fig(7); Calibration curve of Co (II) - (6-MeBTAClP)  complex

Precision and accuracy

The relative  standard deviation  (R.S.D%) , evaluated from seven independent determination of 5 µg.ml-1 of Co2+ was 1.22% , this result show that  this  method is  highly precise . Also the accuracy  of this method was  determined by calculating the Erel% for (5) ppm  standard solution of Co (II) which was found to be 3.32% and Re%=96.68%.

Effect of Foreign Ions

A study of potential interferences in the   determination of cobalt was performed. An error of  +5%  in absorbance reading was considered tolerable. Solutions containing cobalt (8 µg.ml-1) and other ions were prepared and the developed  procedure was applied. The tolerance limits of various foreign ions are given in table (1). These results demonstrate that the effect of  NH4+, F-, I-, Hg2+ and thiosulphate  are negligible, while the effect of  Cu2+, Ni2+, Al3+ are seriously interfere. Suitable masking agents were examined for   eliminating   the   effect  of the  interfereing ofAL3+,Ni2+,Cu2+,Hg2+ as shown in table(2).

Table(1) : Tolerance limit of  foreign ions on study of cobalt (8 µg.ml-1) by proposed procedure.

| Ions | Maximum tolerable ion amount/µg.ml-1 |
| --- | --- |
| NH4+ | 1100 |
| Cu2+ | 5 |
| Ni2+ | 8 |
| Al3+ | 0.1 |
| F- | 850 |
| I- | 750 |
| Hg2+ | 1000 |
| S2O32- | 1350 |

Table(2) :Masking agents for eliminating seriously interfereing ions on study of cobalt(10 µg.ml-1)  by proposed procedure.

| Masking agent ( )ml , [ ] | Foreign ion / ppm |
| --- | --- |
| NaI (1) , [0.5] | Cu2+ / 5 |
| NaI (2) , [0.2] | Hg2+ / 20 |
| Na2S2O3 (1) , [0.3] | Ni2+ / 10 |
| NaF (2) , [0.5] | Al3+ /0.1 |

References

1-ZORA M. GRAHOVAC, SNEZANA S. MITIC, EMILIJA T. PECEV and SNEZANA B. TOSIC, J. Serb. Chem. Soc., 2006, 71 ,189 .

2-Jeredic, Vucetic, Mikroelementi ubioloskom materijalu, Privredni pregled, Beograd, 1982 (inSerbian).

3-Xuezhong Fan, Guofang Zhang and Chunhua Zhu, Analyst,  1998, 123 109.

4-Qiufen HU, Guangyu YANG, Xuechang DONG and Jiayuan YIN, Turk J Chem 2004 , 28, 611.

5- M. Andac, A. Asan, I. Isildak and H. Cesur, Analytica Chimica Acta, 2001,143.

6- Demetrius G. Themelis, George A. Zachariadis and John A. Stratis, Analyst, 1995, 120, 1593 .

7- A. Praveen Kumar, P. Raveendra Reddy, and V. Krishna Reddy, J  Autom Methods Manag Chem. 2007, 68, 487.

8- Gu Jin, Yurui Zhu, Wanquan Jiang, Boping Xie and Bin Cheng Analyst, 1997, 122, 263.

9- W. J. Holland, M. DePooter and J. Bozic, Microchimica Acta , 1974, 99.

10-Kevser Sözgen and Esma Tütem, Talanta , 2004 , 62,971.

11-Texeirra. L. S. G., A. C. S. Costa, S. L. C. Ferreira, C. M. S. Carvalho, and, M. L. Freitas, J. Braz. Chem. Soc., 1999, 10, 519.

12-Aqeel M. J., K. H. Kadhim, and A. N. AL-Sharifi, National J. of  Chemistry, 2006, 24, 608.

13- Jop, Ann.Chim., 1928, 9, 113.

14-A. E. Harvey, and D. L. Manning, J. Am. Chem. Soc., 1950, 72, 4488.

15-Marczenko. Z, "Spectrophotometric Determination of Element", John Wiley &Sons,Inc.,Warsaw(1976).