Synthesis and Spectrophotometric  Study  of 4-(6- Bromo -2-benzothiazolylazo)phloroglucinol as an Analytical Reagent for Determination of Bismuth.

Zainab Hashim                             Kasim Hassan*

College of Science, University of Babylon

(NJC)

(Recevied on 3/7 /2011 ) 		  (Accepted for publication    27/9 /2011)

Abstract

A new  chromogenic reagent, 4-(6-Bromo-2-benzothiazolylazo)phloroglucinol        (6-BrBTAPG), was synthesized by diazo coupling of(2-amino-6-bromo benzothiazol) (2-ABrBT) with phloroglucinol, and used for the  spectrophotometric determination of  bismuth (III).This method was simple, sensitive, selective and rapid for reaction between Bi3+ and (6-BrBTAPG),to form a pink complex having a molar ratio of (1:1) (Bi-6-BrBTAPG) at pH 7.5. The molar absorptivity of the complex was 0.2654×104 L.mol-1 cm-1 at   max 538 nm. Beer’s law is obeyed in the range of (0.5–30) ppm  of bismuth ,and the stability constant was found to be  3 × 104  L.mol-1.

The relative standard deviation for seventh replicate measurements ,recovery ,and relative error values of this method were found to be 0.736 , 101.33, and1.33 respectively . The interference of foreign ions was also investigated. All the other ions studied did not interfere with bismuth determination except for Mn2+ , Co2+,Fe3+,V5+,and pb2+. The interferences were eliminated approximately using suitable masking agent .

الخلاصة

تم تحضير الكاشف العضوي الجديد  4- (6-  برومو-  2 – بنزو ثايوزوليل ازو ) فلوروكلوسينول من ازدواج  (2- امينو 6- برومو بنزو ثايوزول ) مع الفلوروكلوسينول واستخدم في التقدير الطيفي لايون البزموث الثلاثي بطريقة تحليلية طيفية بسيطة وحساسة وانتقائية وسريعة . تم قياس المعقد المتكون (الوردي اللون ) من تفاعل الكاشف مع ايون +3Bi عند pH =7.5 بنسبة (1:1) من الايون الفلزي الى الكاشف عند الطول الموجي 538 نانوميتر .وكان معامل الامتصاص المولاري للمعقد 0.2654x104 لتر .مول-1 .سم-1 .حيث كانت التراكيز التي تطاوع قانون بير ضمن المدى (0.5-30) ppm /بزموث, وبلغت قيمة ثابت الاستقرارية  3 x 104 لتر.مول-1.

وحدد دقة وضبط الطريقة التحليلية المتبعة باستخدام محلول قياسي من ايون البزموث ذي تركيز 15 جزء بالمليون فكانت القيم  لـ  R.S.D  ,    Re  ,   Rrel  هي  0.736،  101.33، 1.33على التوالي .كذلك تم دراسة تاثير ايونات Mn2+ و Co2+ و Fe3+ و  V5+و pb 2+التي تتداخل عند تفاعل الكاشف (6-BrBTAPG) مع أيون البزموث (III) وتم حجب تاثيرها باستخدام عوامل حجب مناسبة.

Keywords: spectrometry ,Azo for Phloroglucinol,Bismuth(III).

Introduction

Bismuth(Bi,at. mass 208.98)occurs in its compounds in the +III and +V oxidation states upon dissolution, only compounds of bismuth(III)are found, bismuth(III) hydrolyses at pH(1-2), and shows no amphoteric properties(1).Bismuth is found in the earths crust up to 0.0002 , it is the least toxic element among the heavy metals(2). Therefore sensitive ,simple, and accurate methods for the determination of bismuth are required. The most important methods of bismuth determination are atomic absorption(3),inductively coupled plasma-mass spectrometry(ICP-MS) (4),flow injection analysis (FIA)(5), high-performance chelation ion hromatography(HPCIC)(6),adsorptive stripping voltametry(7),spectrophotometry is essentially a trace-analysis technique and its one of the most powerful tools in chemical analysis, there are a great number of spectrophotometric methods based on its ability to form complexes , mainly colored , with organic and inorganic compounds . Benzothiazoles are heterocyclic compounds with multiple applications. Thiazolylazo compounds have been used as a reagents for spectrophotometric determination of metal ions(8).The most important  thiazolylazo reagents for the spectrophotometric determination of bismuth are 4-(thiazolylazo)Resorcinol [TAR](9),N,N'-bis(2-hydroxyethyl)glycine(10), O- hydroxy hydroquinonephthalein(11), Cyanex301 (12),1,2DiaminocyclohexaneN,N,N',N'-tetraaceticacid(DACT)(13),4-(2-pyridylazo)Resorcinol[PAR](14).In this work, anew heterocyclic azo dye reagent(6-BrBTAPG)has been synthesized ,and used for the spectrophotometric     determination of bismuth(III) ,this method is simple, sensitive ,selective ,  and rapid .

Experimental

Apparatus

(FTIR)Spectra(4000-400cm-1 )  in  KBr  disk   were   recorded     on a SHIMADZU  FTIR – 8400 S   fourier. transform. infrared. spectrophotometer. (Japan) ,  elemental  analyses       were carried out on a EURO EA3000 single elemental analyzer(Europe),absorption spectra  were  measured  on a T80 UV- Vis spectrophotometer and absorbance were measured  on Apel PD  - 303UV- visible  spectrophotometer    using 1cm quartz   cells , atomic  content       were measured  on a SHIMADZU AA-6300 Atomic  absorption spectrophotometer ,A model WTW multi 740 pH -   meter  were  used  to  adjusted    and measure  the pH of  the solution  , melting point  were  measured  using            SMP30  Stuart,UK.

Reagents

All  chemicals  were  used of analytical grade  reagent   unless   other  wise  stated   .All solution   were   prepared   using     de-ionized.water                     .

Synthesis of 2-Amino 6- Bromo Benzothiazol (2-ABrBT)

2-ABrBT is prepared by a typical procedure (15) (direct thiocyanogenation) ,it is described as follows:-p-Bromo aniline (4.3 gm,0.025 mol) and ammonium thiocyanate (3.8 gm,0.05 mol ) were dissolved in (70ml) glacial acetic acid, cooled in ice and stirred  mechanically  while a solution of  bromine (4 gm) in (10ml) glacial acetic acid was slowly added drop by drop , external cooling was applied throughout the reaction to keep the temperature below 10˚C and the stirring was continued for thirty minutes after all the bromine had been added ,the crude product was obtained by pouring in distilled water(D.W) , an amount of cold NaOH solution was added to separate the  precipitate  and filtering .   A purified gilt yellow solid was obtained by filtering, washing with D.W , and recrystallization  with ethanol .

˚

˚

Synthesis of the reagent

4-(6- Bromo 2- benzothiazolylazo) phloroglucinol [6-BrBTAPG]

A (1.145 gm,0.005 mol) of (2-ABrBT) was dissolved  in 5 ml of HCl(37) and (20ml) glacial acetic acid  and cooled to 0˚C in ice-bath. A 5 ml of NaNO2 solution (0.3450gm,0.005 mol) was added dropwise and stirred. Asprig orange  diazo-salt solution  was

prepared after further stirring for 20 min at( 0-5˚C) , separately  A(0.6305 gm ,0.005 mol) of 1,3,5,- tri hydroxy benzene (phloroglucinol) and (0.5 gm) of NaOH was dissolved  in (50ml) of D.W and cooled to (0-5˚C) , the above diazo-salt  solution was added dropwise to this solution with vigorous stirring , after mechanically stirring  for a further 2 hours ,the mixture was allowed to stand  overnight , A red-purple solution was producted ,the crude product   was obtained by pouring in D.W and filtering .Apurified riddish orange  solid was obtained  by filteration  and recrystallization with                             ethanol(16)          .

˚

˚

˚

˚

Standard solution of Bismuth:

A solution of bismuth(III) 100ppm was prepared by dissolving 0.0232 gm of Bi(NO3)3.5H20 in (10ml) of distilled water containing(0.1ml) of conc.HNO3 ,and dilute the solution to volume 100 ml with water, working solutions were prepared freshly by appropriate dilution of  the stock solution.

(6-BrBTAPG) solution

1.5×10-4 M.  6-BrBTAPG (0.0055 gm) was dissolved with <5 ml of absolute ethanol, this was transferred into a100 ml calibrated flask and diluted up to the mark with absolute ethanol.

General procedure

Into a 10ml  standard flask , transfer 1ml of sample solution containing 25ppm of bismuth(III) and 2ml of  1.5× 10-4 M (6-BrBTAPG) solution ,dilute to the mark with distilled water, adjust pH around 7.5 ,mix well and after 5 min measure the absorbance of solution   at  538nm   at 40˚C in a 1 cm quartz cells  against a reagent blank prepared  in  the same condition  .

Results and Discussion

FTIR Spectrum of the Reagent       (6-BrBTAPG)

The FTIR spectrum of  reagent fig(1) showed absorption band at 3282.62cm-1 due to (O-H) group found in Para  position of phloroglucinol ring ,it was shifted to lower vibrational due to the sharing (O-H) group  through hydrogen bonding, absorption  band  at 3122.54cm-1 and 2970.17cm-1 which refers to(C-H) of aromatic and aliphatic ring respectively ,absorption  band of (C=N) at 1643.24 cm-1 ,absorption band of(N=N) at 1527.67cm-1,absorption band of(C=C) of thiazol ring at 1467.73 cm-1 ,absorption  band at 1284.50cm-1and 1226.64cm-1which refers to (C-S) of asym. and sym.vibrational respectively, and absorption band at 542cm-1of (C-Br)(17,18).

Fig(1):-FTIR Spectrum of the reagent

FTIR Spectrum of the complex

(6-BrBTAPG-Bi)

The FTIR spectrum of complex fig(2) showed absorption band at(3358.183138.29)cm-1 which refers to (O-H) found in Para position of phloroglucinol ring or to the found of H2O in the complex, absorption band appeared at1600.97cm-1to(C=N) of thiazol ring which differ from this band  in the reagent because it was shifted to lower vibration ,that mean a coordination of metal ion with nitrogen ring ,in addition to that absorption band at 1492.95cm-1which refers to(N=N) ,and that means a coordination with metal from nitrogen azo group .

In this complex ,a new band696.33cm-1 is appeared which refers to (M-O).

Fig(2):-FTIR Spectrum of the complex

Physical and chemical properties of 6-BrBTAPG

6-BrBTAPG  is reddish-orange powder  which is slightly soluble in water, it is

soluble in organic solvents ,such as , Dioxane, Chloroform ,ethanol, methanol as follows in fig(3):

MeOH

EtOH

Dioxane

CHCl3

1

2

3

4

1

2

3

4

No.

solvents

Fig(3):-Absorption spectra of the reagent(6-Br BTAPG)

in different Solvents.

The reagent appears as yellow color  in acidic medium and orange in basic medium , absorption spectra of the reagent  at different pH values  as follows in fig(4):-

6.5

4.5

2.5

2.0

5.5

2 052

1 539

1 026

0 513

pH

9.5

7.5

3.0

3.5

7.0

0 000

1

2

3

4

5

6

7

8

9

10

1

2

3

4

5

6

7

8

9

10

No.

Fig(4):-Absorption  spectra of the reagent at different pH values

This figure shows two isobestic point the first at 350nm and the second  at                                              460nm.       The equilibria of the dissociation can be written as follows:-

Absorption Spectra

The absorption spectra  of                     [ 6- Br BTAPG]  and its bismuth complex under the optimum condition  are shown in fig (5):-

A

B

C

Fig.( 5 ):-Absorption spectra of A:Bismuth ion 25ppm, B:6-BrBTAPG reagent 1.5X  10-4 M ,C: Bi-6-BrBTAPG complex at pH=7.5

The electronic spectrum of the reagent  shows three characteristics bands, the two band at (226,268) nm is due to the (   *) transition of the phenolic  ring , while the third band at (462)nm is due to the ( n      *)  transition of the non bonding electron pairs of the nitrogen atom .

The complex of  Bi(III) with this reagent  appears the peak  at   538nm, this indicate the reaction happen between Bi(III) and the reagent         (6-BrBTAPG).

Effect of reagent concentration

Keeping a constant concentration (15μg.ml-1)  of Bi(III) solution ,the effect of reagent concentration  (1.5 x 10-4 M) on absorbance of the complex  was studied  by varying  the amount  of the volume of  reagent (0.5-4.0)ml ,it was obtained that the complex formation was complete and absorbance was maximum when the amount exceeds 1ml.

Effect of pH

The absorbance of the Bi-complex depends on the pH of the solution,the influence of pH was studied over the range (2-9.5) adjusted by means of dil NH4OH(0.01M) and dil HCl(0.01M), the optimum pH range was obtained  between (5-8) of complex. fig(6) shows the relationship between absorbance of complex and pH.         At pH <5 a decrease in absorbance may be due to form azolium cation result from the reaction between hydrogen ion and the ion pair of electron on the nitrogen atom for thiazol ring  ,and also when pH >8.5 a decrease in absorbance  was observed  due to formation of bismuth hydroxide .

=pH control              [Bi3+]=30ppm

Fig(6):-Effect of pH on the absorbance of bismuth complex ,[Bi+3]=30ppm

The stability of  chromogenic                                                           system for the complex at                                                                 different time and different temperature

It was found that the absorbance  of the complex chromogenic system reaches a maximum value within 5min  and remain stable for 24 hrs.

The effect of temperature  on the absorbance  of the complex was studied at the range between (10-70)˚C ,the maximum and constant absorbance  was obtained when the temperature in the range (10-40)˚C ,and at ahigher temperature of  45˚C the absorbance was decrease which may be due to dissociation or evaporization of  the complex .

Composition of complex and                                                           stability constant

The complex composition was determined by job's and mole-ratio methods [ fig (7 , 8) ] ,both methods indicated that the complex has a molar ratio of (1:1) (M:L) at pH 7.5,  and the stability constant  (Kstab.) and () of complex was found to be (3 x104 L.mol-1) and (0.3735) respectively by using the following equations (19) .

Kstab.=1Kinst.

Where =dissociation constant .           c =total conc.of the complex=1.5x10-4., n =mole ratio = 1  .                              Em = absorbance of  a  solution containing reagent two times  excess than  the  amount  of  bismuth .         Es= absorbance  of a solution  containing  a stoichiometric  amounts  [reagent]  = [ bismuth] = 1.5x10 -4  .

Kinst.=(αc).(nαc)nc(1−α)

Em – Es

=     ,

Em

Fig(7):- Continous variation method for  Bismuth complex with              (6-BrBTAPG) at pH=7.5 .

Fig(8):- Mole ratio method for Bismuth  complex with                     (6-BrBTAPG) at pH=7.5 .

Analytical characteristics

The calibration curve was made as described in the  experimental procedure and good correlation coefficient was found .fig(9) , the some analytical parameters for this spectrophotometric determination of Bi(III) using this reagent are summarized in table (1)(20-22).

Fig(9):-Calibration curve of Bi3+ Complex

Table    (1)   : Analytical characteristics of the proposed procedure                        ( N =no . of determination )

| Value | Analytical parameter |
| --- | --- |
| L.mol-1.cm-1 410×0.2654 | Molar absorptivity |
| 0.0787 L-1.gm.cm | Sandell Sensitivity |
| 0.9982 | r) )Correlation coefficient |
| 0.3315 | Detection Limit(D.L) |
| (0.5 -30) ppm | Linear dynamic range |
| 0.0014 | Standerd deviation |
| (N=7) 0.736 | Relative .Standard .Deviation |
| 1.33 | Percent Relative error |
| 101.33 | Percent Recovery |

These result indicating that this method is highly precise and suitable for the determination of Bi (III) spectrophotometrically.

Interferences

The effect of the ions (Mn2+,Co2+,Fe3+,V5+,pb2+) which form complex with the reagent during its reaction with bismuth(10ppm) were studied.on the other hand ,  suitable masking agent were examined for elimination the effect of the interferences of this ions as shown  in table (2)                          .

Table (2)   : Effect of foreign ions on the determination of  Bi (III) and suitable masking agents.

| Error | Masking agent ( )ml,[ ]M | Error | Foreign ion 50ppm | Bi3+ ppm |
| --- | --- | --- | --- | --- |
| 1.3 | 5-Sulphosalicylic (1.0)[0.01] | 6.1 | Mn2+ | 10 |
| 0.7 | 5-Sulphosalicylic(0.75)[0.01] | -13.7 | Co2+ | 10 |
| 0.0 | NH4OH at pH 4.5 | -22.1 | Fe3+ | 10 |
| 0.1 | Oxalic acid (2.0) [0.01] | 4.9 | VO3- | 10 |
| 0.9 | Sodium acetate (1.5)[0.01] | 2.2 | Pb2+ | 10 |

References

1-Z.Marczenko,and M. Balcerzak ,''Separation ,Preconcentration ,and Spectrophotometry in Inorganic Analysis'',1st ed.,Elsevier,P.113,Vol 10(2000).

2-S.H.Gaikwad,S.V.Mahamuni,  and M.A.Anuse,Indian J.of Chem.Tech., 2005,12,365.

3-J.G.Crock,Anal.Lett., 1986,19,1367.

4-J.Shi,and et al., Asian J. of  pharma. Sci., 2009,4,228.

5-D.G.Themelis,P.D.Tzanavaras,     and J.K.Papadimitrion,Analyst, 2001,126,247.

6-R.M.C.Sutton,S.J.Hill,and P.Jones,J.of.Chrom., 1997,789,389.

7-S.S.Khaloo,A.A.Ensafi,and T.Khayamian,Talanta, 2007,71,324.

8-B.S.Garg,R.K.Sharma,and E.Kundra,trans. Metal.Chem., 2005,30,552.

9-M.Hnilickova,andL.Sommer, Talanta, 1969,16,681.

10-A.B.Lopez,A.G.Portal,and F.B.Martinez,Micro.Chem.J., 1988,37,200.

11-I.Mori,et al.,Talanta, 1988,35,879.

12-A.P.Argekar,A.K.Shetty,Analyst, 1995,120,1819.

13-J.Krzek,A.Apola,M.Stolarczyk,and W.Rzeszutko,Analyst, 2007,64,3.

14-.Dedkova,O.Shvoeva,andS.Savvin, J.of Anal.Chem., 2010,65,577.

15-J.K.Malik,F.V.Manvi,B.K. Nanjwade,andS,Singh, Drug.Inven.Today,2009,1,32.

16-B.C.Dixit,H.M.Patel,R.B.Dixit,and D.J.Desai,J.Serb.Chem.Soc., 2010,75,607.

17-M.S.Masoud, et al., J .Korean Chem. Soc., 2002,46,108.

18-R.D.Patel,M.P.Patel,and R.G. Patel, Indian J.of  Chem., 2005,44B,1944.

19- W.C.Vosburgh,and G.R.Cooper, J.Am.Chem.Soc., 1941,63,437 .

20-D.A.Skoog,''Principle of  Instrumental Analysis'',3rd ed.,Saunder Golden Publishing,P.22,(1985).

21-D.A.Skoog,F.J.Holler,and  J .A . Nieman ,''Principle of Instrumental Analysis'',5thed.,Saunders  College  Publishing,P.13,(1998).

22-J.D.Ingle,J.Chem.Educ.,  1970,42,100.