Spectrophotometric determination of metformin hydrochloride via oxidative coupling reaction with 1-naphthol in pharmaceutical and environmental water sample

Nief Rahman Ahmad

Department of Environmental Technology, College of Environmental University of Mosul, Mosul-Iraq.

Farha Khalaf Omar

Department of Chemistry, Education College for girls, University of Mosul

Mosul-Iraq.

(NJC)

(Recevied on   13/3 /2012 ) 		  (Accepted for publication     14/6/2012)

Abstract

A simple, rapid, accurate and sensitive spectrophotometric method for determination of metformin hydrochloride has been developed. The proposed method is based on the oxidation of 1-naphthol by sodium hypochlorite and coupling with metformin hydrochloride in the presence of sodium hydroxide to form an intense blue soluble product with maximum absorption at 580 nm. Beerˈs law is obeyed over the concentration range of 2-20µg/ml, with molar absorptivity of 3.66x104     l/mol.cm.The present method is considered to be simple because it does not need either heating or hydrolysis or  solvent extraction steps. The ingredients often formulated with metformin hydrochloride have been shown not to interfere, and the proposed method is suitable for the routine determination of metformin hydrochloride. The method has been successfully applied for the determination of metformin hydrochloride in pure form, pharmaceutical preparations(Tablets) and environmental water sample                                              .                                               Keywords: Metformin hydrochlorid, spectrophotometry,   pharmaceutical       preparations

الخلاصة

تم وصف طريقة طيفية سهلة وسريعة وحساسة لتقدير المتفورمين هيدروكلورايد . تعتمد الطريقة على اكسدة    1 - نافثول بواسطة هايبوكلورات الصوديوم واقترانة مع المتفورمين هيدروكلورايد بوجود هيدروكسيد الصوديوم لتكوين ناتج ازرق اللون ذائب في الماء  وله اقصى امتصاص عند 580 نانو ميتر.لقد وجد بان قانون بير  يسري على الكميات التي تتراوح بين2-20 مايكروغرام\ مل بامتصاصية مولارية مقدارها 3.66 x 104     لتر\مول.سم . تعد الطريقة الحالية بسيطة كونها لاتحتاج الى تسخين او تحلل مائي او استخلاص مذيبي حيث ان المواد الداخلة في تحضير المستحضرات المحللة لاتتداخل مع المتفورمين هيدروكلورايد مما جعلها طريقة ناجحة للتحليل الروتيني للمتفورمين هيدروكلورايد بشكله النقي وفي مستحضراته الصيدلانية     ( الحبوب )وفي نموذج بيئي من المياه

Introduction

Metformin hydrochloride (glucophage) (1) , chemically is 1,1-Dimethyl biguanide  hydrochloride with a molecular formula of C4H12Cl N5 (Fig 1). It is an oral antidiabetic drug that has been used in the treatment of non- insulin dependent diabetes which improves control of glycemia primarily by inhibiting hepatic  gluconeogenesis and glucogenolysis(2) and seems to ameliorate hyperglycemia by  improving preipheral sensitivity to insulin , reducing gastrointestinal glucose absorption  and hepatic glucose production .  Recently, metformin has also become available for the treatment of polycystic ovary  syndrom and has been found to improve vascular function, prevent  pancreatic cancer  and revers fatty liver diseases(3)

.

M. Wt  = 165.6

Fig (1) : Chemical structure of metformin- HCl

Literature survey reveals that many HPLC methods for the detremination of metformin are reported . But most of the methods use either ion-pair reagent or cation  exchange column(4-15).   Another different methods for the determination of metformin  have been described , such as conductometric titration(16), flow-injection chemiluminescence(17-19), capillary electrophoresis(20), ion-selective electrode(21)  and adsorptive  catalytic squar-wave voltammetry(22).Very few spectrophotometric methods for the determination of metformin hydrochloride,  in pharmaceutical formulation are described. The official method includes uv spectrophotometric method for estimation of the drug in the tablets(23). The colorimetric methods include charge transfer complex with iodine in acetonitrile medium(24), reaction of metformin with Cu+2 in basic cyclohexylamine medium(25) and the reaction with ninhydrin  to form a violet colored complex(26). And spectrophotometric method using multi variate technique(27).	However , all of these methods suffered from several disadvantages including use of complex extraction procedures which were tedious and time consuming , ultra filtration and column-switching technique, have been suggested to improve  specificity and selectivity . The  proposed method can be applicable to routine analysis and content uniformity test of metformin hydrochloride in tablets and   complies well with the validation  requirments in the pharmaceutical  industry(28).

Material and Methods

Apparatus

A Spectro scan 50 Uv visible spectrophotometer with 1.0 cm quartz cells was used .

Reagents

All chemicals used were of analytical grade and the metformin hydrochloride  standard  material was provided from state company of  drug industries and medical appliance (NDI) Ninavah – Iraq.             .

Metformin hydrochloride stock solution (1000 ppm) was prepared by dissolving 0.1g of metformin hydrochloride in  100ml distilled water in a  volumetric flask .

Metformin hydrochloride standard solution (100 ppm) was prepared by diluting 10 ml of stock solution to 100 ml by   distilled water in a volumetric flask.

Sodium hypochlorite solution (0.1%) was prepared by dilution  1.25 ml of 8% sodium hypochlorite to 100 ml by distilled water, this solution was standardized every 4-5 days and stored in a dark bottle(29).                                                                                               Sodium hydroxide solution (0.1N)

1-Naphthol solution( 0.1%) was prepared by dissolving 0.1g of 1-naphthol in  100ml ethanol 95% ( in a  volumetric flask .)

Recommended procedure

Aliquots of standard solution of metformin hydrochloride (50-500µg) were  transferred into a series of 25 ml calibrated flasks, added  1 ml of 0.1% sodium hypochlorite solution ,3 ml of 0.1% 1-naphthol,and 1 ml of 0.1 N sodium hydroxide  , dilute the solution to the mark with  distilled water . The absorbance of the blue-colored product  was measured at 580 nm against a reagent blank.

Procedure  for pharmaceutical preparations (tablets)

Weigh and powder 10 tablets . Dissolve a quantity of the powdered tablets equivalent to  100mg of pure metformin hydrochloride in about 100 ml distilled water and mix for  20 min and then filtered. The filtrate was made up to 1L with distilled water . Treat  3 ml of this solution as mentioned under recommended procedure.

Procedure for tap water

To demonstrate the practical applicability of the proposed method, tap  water sample from, Mosul-Iraq, were filtered and analyzed for metformin hydrochloride . Which shows negative results, the samples were spiked with the concentrations ranging from 5-15 µg.ml-1 of metformin hydrochloride .The spiked water samples  were analyzed as described above for recommended  procedure and the concentration  was calculated  by using the calibration curve of the method.

Results and Discussion

The absorption spectra of the reagent and its metformin complex are shown in Fig.2. The maximum absorbance of the blue product is at 580nm which used in all subsequent experiments.

|  |  |  |  |  |  |  |  |  | Fig 2:Absorption spectra of 12µg/ml of metformin hydrochloride with 1-naphthol against reagent blank. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Fig 2 :Absorption spectra of 12µg/ml of metformin .HCL with 1-naphthol against reagent blank.

Effect of base

It was found that the presence of a base led to increase the intensity and cloudless of the the produced product, therefore some bases such as NaOH,Na2CO3 and NH4OH are examined and was found that all these bases gave almost equal intensity,  NaOH was selected and it  was found that 1ml of this base gave ahigh sensitivity and was selected in all subsequent experiments.

Effect of reagent concentration

The amount of 1- naphthol solution for maximum color intensity was examined. 1 ml was found enough to develop the color to its full intensity and was selected in all subsequent experiments.

Effect of oxidant  concentration

The amount of sodium hypochlorite solution for maximal color intensity was examined . 1 ml was found enough to develop the color to its full intensity which was selected in all subsequent experiments.

Effect of reaction time

Immediate color was developed at room temperature and the absorbance was stable for at least 6 hours.

Effect of order of addition

To obtain optimum results the order of addition of reagent should be followed as given under the  recommended procedure , otherwise a loss in color intensity was observed.

Beer's law

Employing the condition described under  recommended procedure , alinear calibration curve    for metformin          hydrochloride with the  concentration range of 2-20µg/ml Fig 3 . Linear regression equation : y= 0.022x - 0.002 (r=0.999, n=6) where y is the absorbance and x  is the concentration in μg/ml.  The conditional molar absorptivity was found to be 3.66x104     l/mol.cm ,with accuracy (average recovery%) was99.8 and the relative standard deviation of better than 1%was obtained.

Fig 3 : Calibration graph of metformin hydrochloride.

Interference studies

In order to assess the possible applications of the proposed method, the effect of substance that often present with metformin hydrochloride  in (Tablets) were studied by adding various amounts of excipients to 10 µg of metformin hydrochloride . An attractive feature of

the method is its relative freedom from interference by the usual diluents and excipients in amounts for in excess of their normal  occurence  in pharmaceutical preparations. The results are given in Table (1).

Table1: Determination of 10 µg / ml of metformin hydrochloride  in the presence of excipients and other substances.

| Interfering substances | Amount added/mg of interfering | Amount of drug found*,µg | Recovery, % |
| --- | --- | --- | --- |
| Lactose | 40 | 10.06 | 100.6 |
| Microcrystalline cellulose | 20 | 9.96 | 99.6 |
| Corn starch | 30 | 9.97 | 99.7 |
| Povidone | 30 | 510.0 | 100.5 |
| Magnesium stearate | 40 | 10.07 | 100.7 |
| Hydroxyl propyl methyl cellulose | 40 | 10.07 | 100.7 |
| Polyethylene glycol | 20 | 10.04 | 100.4 |
| Titanium dioxide | 10 | 10.02 | 100.2 |

*Average of six determinations.

Composition of the colored product

The stiochiometry of reactants was investigated by the mole- ratio method (30). The results obtained indicated that the existence of 1:1  metformin hydrochloride- 1-naphthol at 580 nm. Thus the suggested reaction may be written as

Blue color

Apparent stability constant of the product

The conditional stability constant of the product was estimated by using the following equation(31):

K=a-(∆A/ε) /nn(∆A/ε)

where :

a = metformin total concentration.

∆A= sample absorbance in reagent excess minus the sample absorbance in

stiochiometric reagent amount.

ε = molar absorptivity at the measured wavelength.

and n = number of ligand.

The stability constant ( mean of five values) is found to be 1.31 ×106 l.mol-1,

indicating that the product is stable.

Analytical application:

The proposed method was satisfactorily  applied to the determination of metformin hydrochloride  in its pharmaceutical preparations( tablets) and tap water samples ,the results of the assay of the pharmaceutical preparations revels that  there is close agreement between the results obtained by the proposed method and the lable claim (Table 2), and the results of water samples           (Table3) show that the recovery values obtained were closed to 100%.

Table 2 : Determination ofmetformin hydrochloride  in pharmaceutical formulations

| Pharmaceutical formulations | Lable amount( mg) | Found by proposed method(mg)* | Recovery% |
| --- | --- | --- | --- |
| Glucosam tablets(NDI-Iraq) METFORMAL (SPA-Italy) | 500mg/tab 850mg/tab 500 mg/tab | 498.75 852.125 499 | 99.75 100.25 99.8 |

*mean value of ten determinations

Table 3 : Determination of metformin hydrochloride  in tap water samples

| Wastewater samples | Tadalafil added µg/ml | Found* µg/ml | Recovery %(n=10) |
| --- | --- | --- | --- |
| Tap water | 4 12 20 | 4.04 11.94 20.26 | 101 99.5 101.3 |

* mean value of ten  determinations

Conclusions

The developed method is found to be sensitive ,accurate ,simple ,precise and economical ,and can be used for routine quality control analysis of metformin hydrochloride  in  pure form ,bulk, pharmaceutical formulations and environmental water samples.

References

- The pharmaceutical codex ,Incorporating the British pharmaceutical codex,11th Edn, pharmaceutical press, London 1979 , p. 544

- Nelson.R,Spann.D, Elliott.D, Bronds.A and Vuliet.R , , Journal of Veterinary Internal medicine 2004,18, 	18-24

- Wang.S,Kusuhara.H, Kato.Y, Jonker.W, and Sugiyama.Y,  molecular pharmacology , 2003 , 16 (4), 	844-848.

- Zarghi.A, Foroustan.S, Shafaati.A and 	Khoddam.A , J.Pharma Biomed Anal,2003, 31 (1) ,197-200.

- Bonfigli.A, Manfrini.S, Testa.R, and Coppa.G, , The Drug Monit ,1999, 21(31),330-334

- Ali.M , Maha.F and Charl.A, Saudi pharmaceutical Journal , 2006,14 	(2), 108-114

- Amini.H, Alhamdani.A and Gazerani.P, 	, J.Chromatogr B, 2005 , 824 (1-2), 319-322

- Aburuz , Millership.J and Elany.J,J.Chromatogr B, 2003, 798(2), 203-209.

- Rahman.B, Ahmed.M , Islam.M, 	Barman.R and Khan.M, Research. Journal of medicine and medical sciences,2007 ,2(2) ,115-121.

- Ghassempor.A , Ahmadi.M , Ebrahimi.S and Enein.H,  Chromatographia,2006,64,101-104.

- Kolte.B,Raut.B, Deo.A and Shinde.D, J.Chromatoger Sci, 2004, 42(1), 27-31

- Chen.X,Gu,Q , Qiu.F and Zhong.D, Journal of 	chromatogr B,2004,802,377-381.

- Cheny.C and Chou.C, J.Chromatogr B Biomed Sci ,2001, 762(1) , 51-58.

- Heinig.K and Bucheli.F,  Journal  pharma  Biomed Anal , 2004,34(5), 1005- 1011.

- Kar.M and  Choudhury,P, , Indian Journal of pharmaceutical  science, 2009,71(3),318-320

- Abo-dan.M , Shour.S and Abo.dan.H,Asian. J. Chem, 2001, 13,1-7

- Wang.Z ,Zhang.Z,Wf,L and Zhang.X, Anal . Lett, 2003, 36(12), 2683-  2697.

- Karine.L 	Santos.M and Lima.C, Anal. Bioanal. Chem, 2005, 382, 452-457.

- Chao.H, Zhang.Z ,Deyong.H and  Xiong.Y, Anal. Bioanal.Chem,	2006, 385, 128-133.

- Edward.P and Shery.F,  Journal of chromatogr B, 2006, 843(1), 			94-99.

- Dobaria.N,Shan.S and Rajput.S,  Indian  Journal of 	pharmaceutical science  2006,68(5),562-565.

- Slawomira.S, Valentine. M, Witold.C, Adam.S and Robert.Z , “Journal  pharma  biomed anal, 2007,45 (2) ,275-281.

- British pharmacopeia ,Her Majesty,Stationary Office ,London, 	2009, P.3813.

- Ashour.S and Kabbani.R, Anal Lett, 2003,36(2),361-370.

- Hassan.S,Mahmoud.W, 	Elmosallamy. M and Othman.A,  Analytica Chimica Acta, 1999,378(1-3), 299-311.

- Mubeen.G and Noor.K , Indian Journal of pharmaceutical sciences ,2009,71(1), 100-102.

- Araynce.M,Sultana.N,Zuberi.M and  Siddiqui.F, Indian Journal of pharmaceutical science, 2009, 71(3), 331-335

- The United State Pharmacopeia Convention, Inc, 32-N 27, 2009,P.2905.

- Kolthoff.I.M , Belcher.R ,   Stenger.V.A and Matsuyama.G,   Volumetric Analysis, " Interscience publishers,New York ,Volume III, 1957, P.580

30  -Bauer, H. H., Christian, G.D.; Oreilly, J. E. , Instrumental Analysis,

and  Bacon, Inc. Boston, . (1978), pp.178-179.

31- Nief Rahman Ahmed ,and Widad E. Hassan,  Jou.. Raf. Sci., (2009 ),. 20 (3),  66- 73,