Spectrophotometric Determination of Chloramphenicol in Pharmaceutical Preparations

Mouyed Qassim Al-Abachi                                     Sadeem Subhi Abed

Wasan Abdul Amir Al-Uzri

E-mail :wasanuzri67@ yahoo. com

Department of Chemistry, College of Science, University of Baghdad

(NJC)

(Received on 23/5 /2014)                     (Accepted for publication 13/8 /2014)

Abstract

Two simple, rapid and sensitive spectrophotometric methods have been developed for the determination of chloramphenicol (CAP) in pure form and in pharmaceutical preparations. The proposed methods are based on a coupling reaction between reduced chloramphenicol (by zinc powder and concentrated hydrochloric acid) with chromatropic acid or phenol in the presence of ammonium hydroxide to form an intense red violet or yellow color,  water-soluble dyes that are stable and have a maximum absorption at 515 nm using chromatropic acid and 432 nm on using phenol. The calibration graphs were linear over the concentration ranges of 0.52 -12 µg mL-1 and 0.4- 18µg mL-1  with a limit of detection (LOD) of 0.1334 µg mL-1 and 0.0873 µg mL-1 for chromatropic acid and phenol, respectively.  The proposed methods were successfully applied to the determination of CAP in ointment and eye drops.

Keywords: chloramphenicol, chromatropic acid, phenol spectrophotometry, diazotization–coupling reaction.

الخلاصة

تم تطوير طريقتين تحليليتين للتقدير البسيط و السريع و الحساس للكلورامفنيكول بصورته النقية وفي المستحضرات الصيدلانية. اعتمدت الطريقة الاولى على تفاعل الازدواج بين الكلورامفنيكول المختزل (باستخدام الزنك مع حامض الهيدروكلوريك المركز) والمؤزوت مع كاشف حامض الكروماتروبك والثانية على كاشف الفينول في الوسط القاعدي لتكوين صبغة  حمراء بنفسجية  او صفراء مستقرة وذائبة في الماء  اعطت أقصى امتصاص عند طول موجي 515 نانومتر للكاشف  حامض الكروماتروبك و432 نانومتر لكاشف الفينول0  يشير الرسم البياني للامتصاص مقابل التركيز بان قانون بير ينطبق  ضمن المدى 52‚0 -  12 مكغم مل1- و 4‚0-18 مكغم مل1- وبحد كشف 1334‚0  مكغم مل1- و 0873‚0 مكغم مل1-  للكاشفين حامض الكروماتروبك والفينول على التوالي.  تم تطبيق الطرق المقترحة بنجاح في تقدير الكلورامفنيكول في المستحضرات الصيدلانية المرهم وقطرات العين.

Introduction

Chloramphenicol (CAP) is 2,2 dichloro- N-[(1R,2R)-2-hydroxy-1-hydroxymethyl-2-(4-nitrophenyl)ethyl] acetamide, with molecular structure C11H12Cl2N2O5 (323.13g.mol-1) and its chemical structure:

It is a white, grayish-white or yellowish-white, fine crystalline powder or fine crystals, needles or elongated plates, freely soluble in methanol, ethanol, butanol, ethyl acetate, acetone, and in propylene glycol, slightly soluble in water,             and ether, insoluble in benzene and petroleum ether, it melts at 150.5– 151.5°C [1].

CAP is a bacteriostatic antimicrobial. It is considered a prototypical broad-spectrum antibiotic, alongside the tetracyclines. CAP is effective against a wide variety of Gram-positive and Gram-negative   bacteria, including most    anaerobic organisms. It is widely used because it is inexpensive and readily available [2]. It is used by local application  for the treatment of a variety of infections of the skin, ear and eye including trachoma [3].

Various methods have been reported for the determination of CAP in pharmaceutical preparations, including high performance liquid chromatography [4], LC-Mass spectrometry [5- 6], Polarography [7], chemiluminescence [8-9],             Fluorescence [10], enzymatic method [11],chemometry [12], colorimetry [13-14], thin layer chromatography [15], Voltametry [16],  spectrophotometry and FIA Spectrophotometry [17- 23].

The aim of the present work was to develop a spectrophotometric methods for determination of CAP based on coupling reaction between diazotized CAP with either chromatropic acid or phenol in the presence of  ammonium  hydroxide. The analytical procedure is safe, simple, fast and  accurate. It has been satisfactorily applied to the          determination of CAP  in pure   and in pharmaceutical  preparations.

Experimental

Apparatus

All spectral and absorbance measurements were carried out on a Shimadzu UV- Visble-260 digital double-beam recording spectrophotometer (Tokyo-Japan), using 1-cm quartz cells.

Reagents:

All chemicals used were of analytical reagent grade. CAP standard material was provided from the state company for drug industries and medical appliances (SDI) Sammara-Iraq.

Chloramphenicol (CAP) solution (500 μg mL-1= 1.547 × 10-3M) [24]

Was prepared by dissolving 0.0500 g of CAP in ethanol transferred into 50 mL volumetric flask, and diluted to the mark with the same solvent. The solution was transferred into a beaker of 125 ml. A 20 mL of distilled water, 20 mL of concentrated hydrochloric acid (11.64 N) and 3 g of zinc powder were added. The beaker was allowed to stand for 1hr. at room temperature, then the solution was filtered into 100 mL volumetric flask, washed the residue with distilled water, and diluted to the mark volume with distilled water to obtain 500 μg.mL-1 of CAP reduced solution. More dilute solutions were prepared daily by appropriate dilution using distilled water.

Sodium nitrite (1.547×10-3M)

Was prepared freshly by dissolving 0.0535g of NaNO2 in small amount of distilled water then completed to 500 mL with the same solvent.

Chromatropic acid (3.1×10-4M)

Was prepared by dissolving 0.0113g of chromatropic acid in distilled water then completed the volume to 100 mL with the same solvent.

Phenol(0.1%)

Was prepared by dissolving 0.1g of phenol with distilled water then completed the volume to 100 mL with the same solvent.

Ammonium hydroxide (4M)

Was prepared by diluting 149.7 mL of 13.36M of concentrated ammonium hydroxide with distilled water in 500 mL volumetric flask.

Diazotized chloramphenicol (3.1 x 10-4M) reagent solution

Was prepared by transferring 20 mL of 500µg.mL-1CAP into 100 mL volumetric flask then added 20 mL of 1.547×10-3M sodium nitrite, shaked well and completed to 100 mL in a volumetric flask with distilled water.

More dilute solutions were prepared fresh daily by dilution of the stock solution with distilled water.

Solutions of pharmaceutical preparations

- Eye drops samples - 10 mL (0.5% chloramphenicol/ 0.005% cetrimide-SDI, Sammara, Iraq):

The contents of three bottles of eye drops were mixed. An aliquot corresponding to 50 mg of CAP (10 mL) was diluted to 50 mL with ethanol in a volumetric flask. This solution was transferred into 125 mL beaker and was reduced as described above and diluted to 100mL volume with distilled water to obtain 500 μg.mL-1 of CAP reduced solution.

- Ointment samples - 5 gm (Betaphenicol sterile ophthalmic / 0.5% chloramphenicol 0.2 % betamethasone - Delta for medicaments, Syria):

The contents of five tubes of ointment were mixed. An accurately weighed amount of ointment equivalent to 50 mg of CAP was extracted three times with 10 mL of ethanol. The solution was filtered and diluted  into a 50 mL volumetric flask with ethanol. This solution was transferred into 125 mL beaker and was reduced as described above and diluted to 100mL volume with distilled water to obtain 500 μg.mL-1 of CAP reduced solution.

General procedure for calibration

Method A

An increasing volumes (0.13 -3 ml) of 100 µg.ml-1 (3.1 x 10-4M) diazotized CAP  were transferred into a series of 25 mL standard flask. A 4 mL of chromatropic acid (3.1 x 10-4M) and  2 ml of 4 M ammonium hydroxide were added and shaked well . The contents of the flasks were diluted to the mark with distilled water, mixed well and left for 15 min at room temperature , the absorbance of the red violet dye formed was measured at 515 nm against a reagent blank containing all materials except CAP. A calibration graph was constructed and the regression equation was calculated for the optimization of conditions and in all subsequent experiments, a 2 ml of 100 µg.mL-1 of diazotized CAP in a final volume of 25 mL was used.

Method B

An increasing volumes (0.1 -4.5 ml) of 100 µg.ml-1 (3.1 x 10-4M) diazotized CAP  were transferred into a series of 25 mL standard flask. A 1mL of phenol (0.1%) and  1.5 ml of 4 M ammonium hydroxide were added and shaked well . The contents of the flasks were diluted to the mark with distilled water, mixed well and left for 15 min at temperature (10-15o C), the absorbance of the yellow dye formed was measured at 432nm against a reagent blank containing all materials except CAP. A calibration graph was constructed and the regression equation was calculated for the optimization of conditions and in all subsequent experiments, a 2 ml of 100 µg.mL-1 of diazotized CAP in a final volume of 25 mL was used.

Results and Discussion

Absorption spectra

Factors affecting on the sensitivity and stability of the colored products resulting from the coupling reaction between diazotized CAP and chromatropic acid(method A) and phenol(method B) in alkaline medium were carefully studied. A typical spectrum for the formed azo dyes were measured versus reagent blank which has negligible absorbance at λmax 515 nm (method A) and 432 nm(method B), Fig.(1).

Fig.(1): Absorbance spectra of CAP (8µg mL-1) - azo dyes and reagent blank. The reagent blank measured against distilled water

A: azo dye by method A

B: azo dye by method B

Optimization of the experimental conditions

Effects of various parameters on the absorption intensity of the formed products were optimized

The coupling reaction of diazotized CAP with both chromatropic acid(method A) and phenol(method B) were formed in alkaline medium. Therefore, the effects of different alkaline solutions (4 M) were studied such as sodium hydroxide, sodium carbonate, potassium hydroxide and ammonium hydroxide. It was found that ammonium hydroxide was the most suitable alkaline medium for a maximum absorbance and was used in all subsequent experiments in both methods A and B.

The effect of different volumes of ammonium  hydroxide (4 M) was studied on the maximum absorbance by varying the volume of ammonium  hydroxide solution between (1-5) mL. A volume of      2 mL , 1.5 mL ammonium  hydroxide (4 M) for methods A and B respectively were enough to obtain the maximum absorbance.

Fig.(2): Effect of the volume of ammonium hydroxide (mL).

Similarly, the effect of the reagents (chromatropic acid (3.1 × 10-4 M ) and phenol(0.1%) were studied in the range of (0.5-6) mL .The greatest absorbance intensity were obtained with 4 mL and 1mL of the reagents for method A and B respectively, Fig.(3).

Fig.(3): Effect of the volume of reagents(mL).

Effect of order of addition

Different orders of addition of the reagents were examined and it was found that the order of  addition  of reagent by mixing chromatropic acid (method A) and phenol (method B) as cited under general procedure was optimum and was used in all subsequent experiments.

Effect of reaction time

In spite of the rapid color development (formed immediately) the color intensity reached a maximum after diazotized CAP solution had been reacted with chromatropic acid(method A),phenol(method B) and ammonium hydroxide for 15min, therefore a 15 min development time was selected as optimum in the general procedures. The color obtained was stable for 2 hr.

Structure of the products

The stoichiometry of the reaction between diazotized CAP (3×10-4M) and chromatropic acid (3×10-4 M) (method A) and phenol (3×10-4 M)(method B) were investigated using continuous variation method. The result obtained in Fig.( 4) shows that a (1:1) was formed between diazotized CAP with chromatropic acid (method A) and phenol(method B) at 515 nm and 432 nm respectively.

Fig.(4): Continuous variation plot.

The development of the reactions occur in two steps: in the first step the reaction of reduced chloramphenicol with sodium nitrite producing the diazo compound. In the second step, the diazo compound in alkaline medium coupled with chromatropic acid (method A) and phenol (method B) produced a compounds that were monitored at 515nm  and 432nm respectively. The reaction schemes are given below:

Scheme 1: proposed mechanism of the reaction between diazotized CAP with chromatropic acid

Scheme 2: proposed mechanism of the reaction between diazotized CAP with phenol.

The apparent stability constant in methods A and B were calculated by comparing the absorbance of a solution containing stoichiometric amount of diazotized CAP (3×10-4M) and chromatropic acid   (3×10-4 M) (method A) or phenol(3×10-4) (method B) (AS) with that of a solution containing a five-fold excess of chromatropic acid or phenol  reagents (Am) (method A and B)respectively and according to analytical procedure. The average stability constant was (K )= 2.064 × 105 L mol-1and 3.0913× 105 L. mol-1  in method A and B respectively where  [K = (1-α) / α2 C ; α = (Am − As) / Am ][25].

Analytical characteristics of spectrophotometric method

For the proposed methods, a calibration graphs were obtained  by the procedure  described previously and a series of standard solutions were analyzed in triplicate to test the linearity, Fig.(7). The molar absorptivity (ε), the Sandell’s sensitivity (S), the slope (a) and the intercept (b) were determined and  are included in Table 1. The accuracy and precision of the proposed methods  were  tested by analyzing five replicate of diazotized CAP using the proposed spectrophotometric  methods for three different concentrations of diazotized CAP. The values of relative standard deviation RSD% and relative error  Erel% are  summarized in the same table. These values indicate high accuracy and precision of the proposed methods. As well as to LOD, the author capable to calculate limit of quantitation (LOQ). Therefore, the underlined lines could be replaced with the following:

The limit of detection (LOD) and limit of quantitation (LOQ) were determined using the formula: Kσ/ S where K= 3 and 10 for LOD and LOQ,  respectively. σ is the standard deviation of the blank and S is the slope of the calibration curve[26].

Fig.(7): Calibration graph of CAP.

Table (1): Analytical parameters of spectrophotometric  method

| Method B | Method A | Parameters |
| --- | --- | --- |
| 432 | 515 | ʎmax (nm) |
| 0.4-18 | 0.52-12 | Linearity range, µg ml-1 |
| 1.491 × 104 | 1.241×104 | Molar absorbtivity (L mol-1 cm-1) |
| 21.670× 10-3 | 26.035×10-3 | Sandellʼs sensitivity(µg .cm-2) |
| Y= 0.04X+0.0168 | y = 0.0288x + 0.0195 | Regression equation |
| 0.9994 | 0.9979 | Correlation coefficient (r) |
| 0.0873 | 0.1334 | Limit of detection (µg ml-)1 |
| 1.276 | 1.905 | Relative standard deviation (RSD%)* |
| 100.169 | 100.188 | Average of recovery% |
| 0.169 | 0.188 | Erel % |
| 2 | 2 | Stability (hr.) |
| 1:1 | 1:1 | Molar ratio (D:R) |
| Yellow | Red violet | Color |

Pharmaceutical application

The proposed methods were compared successfully with the British Pharmacopeia[1] for both pure CAP and the pharmaceutical preparations . For all preparations examined, the assay results of the proposed methods were in good agreement with the declared content. The results in table 2 are in  accordance with those obtained by the official method[1] and by applying F-test and t- test, at 95% confidence level. The calculated values for F(2.363, 3.251) and t (0.115, 0.046) for method A and B respectively did not exceed the critical values of F4,4 = 9.605 and t = 2.306 (n1+n2-2= 8). This confirm that there is no significant differences  between the proposed methods with the official method with respect to precision and accuracy in the determination of CAP in pharmaceutical preparations.

Table 2- Application of the proposed and official methods for the determination of CAP in pharmaceutical formulation

| Pharmaceutical preparation | Proposed methods |  |  |  |  | Official method Recovery (%) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Present Conc. (µgml−1) in both methods (A and B | Method A |  | Method B |  |  |
|  |  | Rec.* (%) | R.S.D* (%) | Rec.* (%) | R.S.D* (%) |  |
| Cetrimide eye drop | 4 | 100.95 | 1.347 | 101.325 | 0.918 | 100.6 |
|  | 6 | 101.533 | 1.302 | 101.400 | 0.841 |  |
| Betaphenicol ointment | 4 | 98.075 | 0.569 | 98.025 | 1.162 | 98.67 |
|  | 6 | 98.466 | 1.951 | 97.667 | 0.677 |  |

*average of  four determinations

The standard additions method was used to confirm the direct procedure results presented. It involves adding increment volumes (0-2) mL of standard solution of 100 µg.mL-1 to a fixed volume sample(0.5 mL of  100µg.mL-1) and employing the conditions described under procedure. It gave a good accuracy and precision (Table 3) and indicated that by using either the direct procedure or standard additions method, there was no interferences from other ingredient present in the pharmaceutical preparation used.

Table 3- Application of the standard additions method and official methods for the determination of eye drop and ointment containing CAP.

| Pharmaceutical preparation | [CAP] depend on st. additions* |  | Standard additions method |  | Official method |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Method A | Method B |  |
|  | Method A | Method B | Recovery, % | Recovery, % | Recovery, % |
| Cetrimide eye drop | 2 | 2.01 | 100 | 100.5 | 100.6 |
| Betaphenicol Ointment | 1.95 | 1.97 | 97.5 | 98.5 | 98.67 |

*Standard additions

Conclusion                                                                                                                                                                    The proposed methods were found to be very simple, rapid, low cost, and fairly selective than some of the reported methods. They had an advantage of being accurate, did not require the removal of excipients, any chemical sample pretreatment, temperature control, pH control, solvent extraction step, and expensive reagents and solvents. The proposed methods were applied to the analysis of CAP in pharmaceutical formulations and can be used for the routine analysis .

References

1- "British Pharmacopoeia on CD-Rom"  The Stationery Office on behalf of the Medicines and Healthcare products Regulatory Agency (MHRA), 2007, 5th.ed., London.

2-M. E. Falagas and A.A. Michalopoulos,  Expert Rev Anti Infect Ther., 2008, 6, 593–600.

3- A. Wilson,  H.O. Schild and  W. Modell,  “Applied Pharmacology”; 1975, 11th ed., Churchill Livingstone, London.

4-U.R. Mallu, K.H. Reddy, V. Bobbarala,  and  S. Penumajji,  Inter. J. of Pharm. and Bio Sci., 2011, 2, 452-462.

5-Y. Jiang,  X. Zhong ,  T. Zhong,  C.Y. Shen , T. Ding,  H.L. Chen,  B. Wu and  W.J. Shen,  Journal of AOAC International, 2006, 47, 3464–3469.

6- K. Teresa,   Branch Institute of Animal Drugs Inspection, 2003.

7- A.F. Summa,  J. Pharm. Sci., 1965, 54, 442-444.

8- C.A. Lindino and L.O.S. Bulhões,  J. Braz. Chem. Soc., 2004,15, 876- 880.

9- X.Tao,  J. Shem,  X. Cao,  Z. Wang,  X. Wu and  H. Jiang,  Anal. Methods, 2014, 6, 1021-1027.

10-P. Haughland, R. Kang, H. Young, L. Steven and  M. Melner,   Molecular Probes,1991, 18, 722- 730.

11- H.C. Morris,  J.  Miller,  L.S. Campbell, P.M. Hammond,  D.J.  Berry and  C.P. Price, Journal of Antimicrobial Chemotherapy, 1988, 22, 935-944.

12-D. Elena, I. Tomuja, E.M. Mut,  P. Lovanov  and  S.E. Leucuja,  Farmacia, 2010, 58, 572-583.

13-J.E. Chukwuenweniwe, S. Johnson and  S.A. Adelusi,  Tropical Journal of Pharmaceutical Research, 2003, 2, 215-221.

14- B.H. Ahmed and J.O. Onak,  Global J. of pure and applied Science, 2003, 9, 199-207.

15-K. Nia and  R.Mia ,  Intr.Current Pharm. J., 2012, 2, 7-10.

16-Z. Yafeng,  L. Cai .and  G. Cao,  J. Electrochem.Soc., 2014, 161, 129-132.

17-S. Naik, P. Nagaraja, H. Yathirajan  and H. Mohan,  Pharmaceutical Chemistry Journal, 2006, 40, 576-581.

18-S. Thangadurai, S.K. Shukla and Y. Anjaneyulu,  Asian J. of Chemistry, 2001,13, 1456-1460.

19-R.V. Hiremath,  R. Jagadeesh,  Puttaswamy and S.M. Mayanna, J. of Chem. Sci., 2005, 117, 333-336.

20- S.P.  Shelke and T. Mohini ,  Inter. Research J. for Inventions in Pharm. Sci., 2013, 1, 27-29.

21- H.S. Al-Ward,  J. of AL-Nahrain University, 2012, 15, 22-30.

22-T.N. Al-Sabha and B.A. Rasheed,  Jordan J. of Chem., 2010, 5, 201-210.

23- K.M. Mahmoud,  National Journal of Chemistry, 2007, 28, 634-641.

24-R.S. Abd-AlSatar,  Ph.D thesis, Baghdad University, 2006.

25- M.Q. Al-Abachi and T.S. Al-Gabsha, "Fundamentals of analytical chemistry",1983, Press of Mousl university, 343 – 346.

26- D.H. Sanders and A.F. Murph, "Statistics",1976, Mc.Graw-Hill, New York.