Spectrophotometric Determination of Cr(VI) Ions Using  New  Benzothiazolyl azo Compound  2-[(6–Methyl–2-Benzothiazolyl)  azo] -4-Chlorophenol

Aqeel Mahdi . J, Kasim . H .Kadhim , and Abbas. N .Al-Sharefy

Dept. of Chemistry , College of Science , University of Babylon

Babylon-Iraq

(NJC)

# (Received on     11 /4/2006)	(Accepted for publication on   15/ 11 /2006)

Abstract

The new reagent 2-[ ( 6 – Methyl – 2 – Benzothiazolyl ) azo ] – 4 - Chlorophenol (6-MeBTAClP) organic was synthesized, and used in the spectrophotometric determination of Cr (VI) ion . Sensitive, selective and rapid method was proposed. The reaction between the reagent and  Cr(VI) ion occurs at pH = 7.4 , and the absorbance of the resultant solution remains stable for over 24 h.

The method allows for the determination of Cr(VI) over the range  0.2-9.0µg.ml-1, with molar absorptivity of 0.772x104 L.mol-1.cm-1 in chloroform solvent, and a detection limit of 0.16 µg.ml-1 . Recovery and relative error values of precision and accuracy of method were found to be R.S.D%=0.449 , Re%=98.67 ,and Erel%=1.33. Study of complex nature showed that metal: reagent ratio was 1:2 at pH=7.4 ,and the stability constant  of  (7.67 x 109) l2. mol-2, the interferences of ions (Cu2+, Pb2+, Hg2+, Zn2+, Cd2+, Ni2+, MoO42-, WO4 2-)  and masking     agents    effect on absorbance were also studied.

The above mentioned procedure was applied in the determination of total chromium in residual water of alnajaf dibajat  factory as chromium(VI). Results came in agreement with those obtained by flame atomic absorption method for determination of Cr (VI).

الخلاصة

حضر الكاشف العضوي الجديد 2-](6-مثيل -2- بنزوثيازوليل)آزو[-4- كلورو فينول, واستخدم في التقدير الطيفي لآيون الكروم (VI),التفاعل بين الكاشف و أيون الكروم (VI) يتم عند دالة حامضية=7.4 و امتصاصية المحلول تبقى ثابتة لأكثر من 24 ساعة.

الطريقة تسمح لتقدير أيونات الكروم(VI) ضمن مدى بين (0.2-9.0) ميكرو غرام.مل-1,و بمعامل امتصاص مولا ري (0.772x104) لتر.مول-1.سم-1, و بحد كشف (0.16) مايكروغرام.مل-1.

تم حساب دقة الطريقة التحليلية و ضبطها فكانت قيم (%R.S.D=0.449  ) و (%Re= 98.67 ) و (Erel%=1.33  ).

درست طبيعة المعقد الذائب فكانت نسبة الفلز إلى الكاشف (2:1) عند دالة حامضية=7.4 , وثابت الأستقرارية (7.99x910) لتر2.مول-2, كما درست تداخلات الأيونات ( MoO42-,WO42- Cu2+, Pb2+ , Hg2+  Zn2+, Cd2+, Ni2+,) و تأثير عوامل الحجب المختلفة على امتصاصية المعقد.

و أخيراً أجري تطبيق للطريقة المذكورة  لتقدير آيون الكروم الكلي على هيئة الكروم(VI) في الماء المطروح من معمل دباغة النجف وكانت النتائج متوافقة مع نتائج تحليل Cr(VI) بواسطة مطيافية الامتصاص الذري اللهبي.

Introduction

The most important application of chromium in the metallurgic industry is its use as an alloying element in steel. In these materials chromium contributes to increase the hardness ,tempering and oxidation resistance(1).

Very few methods for chromium determination are based on the complex formation with chromium in aqueous solution(2).Some  chromogenic reagents such as 4-(2-Thiazolylazo)-Resorcinol (TAR) (3) , 4-[ 6 – Nitro – 2 – BenzoThiazolyl ) azo]–Resorcinol (6-NO2BTAR) (4) ,Trifluoperazine Hydrochloride (5) ,5-Br-DMPAP (6) ,and 2-(5-Bromo -2-Pyridylazo)-5-diethyl amino phenol (7) , have  been  reported  for spectrophotometric determination of chromium .

Thiazolylazo compounds have reported as useful sensitive chromogenic complexing agents for spectrophotometric determination of metal ions (8) . These dyes were reported good selectivity over awide range of pH values. They are also characterized by being easy to synthesis and purify (9).

Among various thiazolylazo derivatives, such as 1-(2-Thiazolylazo)-2-naphthol (TAN) (9) ,4-(2-Thiazolylazo)-Resorcinol(TAR) (10) , that have been reported for spectrophotometric determinations of  chromium (VI) in aqueous solutions. In this paper the new reagent (6-MeBTAClP)  was synthesized ,and used in a simple method for the spectrophotometric determination of Cr(VI).

Experimental

Reagents;

All reagents were of analytical grade and freshly distilled . Deionized water was used for preparation of solutions .

Preparation of Reagent(11)

To a mixture of (2.142 gm of para methyl aniline and 3.650 gm  of ammonium thiocyanate dissolved in 70 ml glycial acetic acid at 10 ºC was added drop by drop from burette (1.2 ml Br2 + 15 ml glacial acetic acid). After 15 min add alkaline solution to precipitating  the thiazole derivative . Take 1.330 gm of thiazole and dissolve it in 50 ml glacial acetic acid then add (5 ml conc. HCl +25 ml water to the solution ) . After that, add drop by drop, from burette a solution of ( 0.69 gm NaNO2 +5 ml H2O ) with stirring at 10 °C to form the diazonium salt , then add (1.300 gm of para chlorophenol +50 ml ethanol )  to form the organic reagent 2-[ ( 6 – Methyl –2- Benzothiazolyl) azo] - 4-Chlorophenol (6-MeBTAClP) .

Standard solution

-Stock Cr(VI) solution ;A solution of Cr(VI) (1000 µg.ml-1 )was prepared by dissolving (1.8673)g of  potassium chromate in (500 ml)distilled water. Other standard solutions of Cr(VI) were prepared by used dilutions of stock solution with distilled water .

- A standard solution of (6-MeBTAClP) , (1×10-3 M) was prepared by dissolving (0.754)g in 250 ml of absolute ethanol .

-Buffer solution (pH=7.4) was prepared by mixing aqueous solution of sodium acetate trihydrate  (1.0 mol.l-1)  and glacial acetic acid (0.025 mol.l-1).

Apparatus

Spectrophotometric measurements were recorded on a cintra 5-GBC scientific equipment and Sp8-100 ,Pye Unicam, England ,measurements were camed out by using  PW9421 pH meter , Philips , England . Temperature effect on stability of complex were studied by using a water bath - 90 , Hambury , England .The flame atomic absorption spectrophotometer-500 , Perkin-Elmer , U.S.A ,were used for atomic absorption .

Procedure ;

To an aliquot containing ≤100µg.ml-1 of Cr(VI) in a 10-ml volumetric flask , add 2 ml of the acetate buffer , and 3 ml of (1x10-4 M )of   (6-MeBTAClP) solution and was diluted to the mark with distilled water. The whole content of the flask was transported to 50-ml separation funnel and extracted with 10 ml chloroform .The absorbance of the resultant organic  layer was measured  after 15 minute , at 517 nm at 25°C against the reagent solution as a blank that prepared under the same conditions .

Results and Discussion

1- FT-IR spectrum of the reagent (6-MeBTAClP)

FT-IR spectrum of the reagent (6-MeBTAClP) shows in Fig. 1 , and the (table 1) shows the main frequencies of the absorption bands corresponding to the function groups of the reagent:

Fig(1);FTIR-Spectrum of (6-MeBTAClP) reagent

Table 1: The characteristic I.R Spectra of  (6-MeBTAClP)

| Groups | Wave number (Cm-1) |
| --- | --- |
| υ O-H,N-H | 3750-3200 |
| υ C-H Aliphatic | 2856 |
| υ C-H Aromatic | 2922 |
| υ C=N | 1700 |
| υ N=N | 1483 |
| υ C=C | 1510 |
| υ C-S | 1173 |
| υ C-Cl | 816 |
| υ C-O Phenolic | 1280 |

2-Properties of the (6-MeBTAClP), and Isobestic Point

(6-MeBTAClP) reagent is a red powder slightly (hardly) soluble in water. It’s solution is orange and stable  for suitable period time , but in basic medium  pH≥8.0 the solution becomes pink , which can be interpretated in the following equilibria ;

pH≥8.0

pink

7.0≥ pH

yellow

Fig.2 shows the isobestic point of the reagent was obtained at 492 nm by measuring the spectra at the uv – visible regions for solution reagent at pH (6-9).

800            700             600               500              400            300          200

2

1.5

1

0.5

0

Wavelength(nm)

Abs

1

2

3

6

5

4

pH=6.0(1

2) pH=7.0

3) pH=7.5

4) pH=8.0

5) pH=8.5

6) pH=9.0

430 nm

510 nm

Fig(2);Absorption spectra of  (6-MeBTAClP)  reagent at various pH

Study of chromium (VI)_(6-MeBTAClP)  complex

Absorption spectra

800           700             600        500            400          300         200

2

1.5

1

0.5

0

Wavelength(nm)

Abs

reagent

complex

Metal ion

a-Ultra violet - visible absorption spectra of  (6-MeBTAClP) reagent , Cr(VI) ion , and Cr(VI)- (6-MeBTAClP) complex  solutions are show in fig(3).The reagent showed an absorption maximum at 430 nm , the chromium ion at 352 nm , and the complex at 517 nm .

Fig(3);Absorption spectra of Cr- reagent complex.

b-FT-IR of Cr(VI)- (6-MeBTAClP)  complex

FT – IR spectrum of the Cr (VI)- (6-MeBTAClP) shows in Fig.4, and the (table 2)  show the main frequencies of absorption that return to function groups of  complex

of Cr(VI)- (6-MeBTAClP)  complex   Fig(4);FTIR-Spectrum

Table 2: The characteristic I.R Spectra of Cr(VI)- (6-MeBTAClP) complex

| Groups | Wave number (Cm-1) |
| --- | --- |
| υ O-H,N-H | 3750-3200 |
| υ C-H Aliphatic | 2854 |
| υ C-H Aromatic | 2920 |
| υ C=N | 1685 |
| υ N=N | 1463 |
| υ C=C | 1510 |
| υ C-S | 1175 |
| υ C-Cl | 814 |
| υ C-O Phenolic | 1294 |
| υ N-M | 410 |
| υ O-M | 420-500 |

Effect of pH

The influence of pH was studied over the range (3-9) adjusted by means of dilute HCl and NaOH solutions. Fig(5) shows the effect of pH , where the maximum absorbance obtained in the range of pH=(6.8-7.8) .At pH values less than 6.5 and higher than 8 absorbance was decrease. Therefore , the optimum pH was 7.4 , where the absorbance was maximum and stable .

pH-Cont.

Fig(5);Effect of pH on the stability of Cr(VI) complex

Effect of time

The stability of absorbance of the complex was studied from (0-120)min with 5 min intervals till 24 h . Fig (6) shows that maximum absorbance  has reached after 15 min , after preparation of complex until the end of 24 h .

Effect of temperature

The effect of temperature on the absorbance of complex was studied at temperatures range (10-80) °C using a water bath-90 ,Hambury ,Fig (7). Maximum absorbance  was obtained when the temperature between (20-30) °C which was regarded as a proper temperature range of the complex formation. At a temperature higher than 40 °C the absorbance has decrease due to the dissociation of the complex gradually

ْC

Fig(7) effect of temperature  on                    Fig(6) effect of time  on the

the stability of the complex                          stability of the complex

Determination of stoichiometry and  formation constant

The composition of complex was studied by Jobs method  of continuous variations and mole-ratio method (12-13) . Fig(8,9) show that both methods indicate that , the ratio of metal ion to reagent molecules (M:L) was (1:2) at pH=7.4 . The formation constant calculated by the applied procedure  , was found to be (7.67x109) l2.mol-2 .

Fig(8);Jobs plot [Reag]=[Cr(VI)]                            Fig(9);Mole ratio plot[Reag]=[Cr(VI)]

=1x10-4,pH~7.4                                                             =1x10-4,pH~7.4

Molar conductivity

The molar conductivity of the prepared solid complex was measured by dissolving an adequate weight in two solvents of different polarity like methanol and acetone separately ( Table 3) , and measuring the value of molar conductivity by using the conductivity measuring device (Digital conductivitimeter – alpha – 800 . Courteloud – England )

Table 3 : Molar conductivity of complex in acetone and methanol solvents

| Molar conductivity ,Cm2.Ohm-1.mol-1 |  | Cr – (VI)-(6-MeBTAClP)2 |
| --- | --- | --- |
| methanol | acetone |  |
| 167 | 173.2 |  |

From the results shown in the table 3 can deduce that the Cr(VI) complex with the reagent (6-MeBTAClP) is a weak electrolyte which contains no ionic properties. This result is coincidence with metal to reagent ratio (M:L) obtained experimentally (14–15).

Suggestion of structural formula of Cr(VI)- (6-MeBTAClP)  complex

From the obtained  results of metal to reagent ratio,FTIR-Spectrum ,and depending on thiazolylazo compounds properties; the following structure can be suggested :

N

N

S

N

H

3

C

O

C

l

N

N

S

N

C

H3

O

C

l

M

O

O

Where  M=Cr

Analytical characteristics

Calibration curve

Linear calibration graph through the origin was obtained which obeyed Beers law over the range (0.2-9.00 ) µg.ml-1 0f Cr(VI) .The average molar absorptivity was found to be (7.72x103) l. mol-1. cm-1 in chloroform .The Sandell’s sensitivity (14) was(0.0018) µg. of Cr(VI) .Cm-2 ,and correlation coefficient(r) was 0.9986 (Fig.10) .

Fig(10); Calibration curve of Cr(VI)- (6-MeBTAClP)  complex in chloroform solvent.

Precision and accuracy

The relative standard deviation (R.S.D%) , evaluated from seven independent determinations of 10µg.ml-1 of Cr(VI) was 0.45% , this result showing that the method has good precision . Also the accuracy of this method was determined by calculating the Erel% for (10) ppm  standard solution of Cr(VI) which was found to be 1.33 and Re%=98.67.

Analytical application

A total chromium in a waste water of (alnajaf – dibajat factory) as form chromium (VI) was determined using this spectrophotometric method after applied the optimum conditions of formation of complex Cr(VI) - (6-MeBTAClP) and compared with AAS method. The results obtained shown in table 4 .

Table 4 : Total concentration of chromium in waste water of alnajaf – dibajat factory

| Sample No. | Total conc. of Cr , ppm |  |
| --- | --- | --- |
|  | Spectrophotometric method | AAS |
| 1 | 1.40 | 1.60 |
| 2 | 1.41 | 1.58 |

From these results it has been shown that there is a good conformity between the two analytical methods used. Therefore it was concluded that the spectrophotometric method mentioned in this research work can be used for the determination of trace concentrations for this element in different matrices with a good precision and sensitivity.

Interferences :

The selectivity of Cr(VI) – (6-MeBTAClP) system is tested by carrying out of determination of 5 ppm in the presence of foreign ions. These ions (MoO42-,WO42-, Cu2+,Pb2+,Hg2+,Zn2+,Cd2+, Ni2+) which also reacts with the reagent 6-MeBTAClP during its reaction with Cr(VI). Above cations were masked by using suitable masking agents. The results obtained are summarized in table 5 :

Table 5 : study of interferences

| Foreign ion | Form add | Amount add, ppm | Relative error |
| --- | --- | --- | --- |
| Ni2+ | NiCl2.6H2O | 10 | -3.4 |
| Cd2+ | Cd(NO3)2.4H2O | 15 | +5.2 |
| Zn2+ | ZnSO4.7H2O | 10 | +1.2 |
| Hg2+ | HgCl2 | 20 | +2.6 |
| Pb2+ | Pb(NO3)2 | 15 | +1.7 |
| Cu2+ | CuSO4.5H2O | 20 | -2.1 |
| WO42- | Na2WO4.2H2O | 15 | -10.3 |
| MoO42- | (NH4)2MoO4 | 10 | 11.6 |

In order to enhance the selsctivity various masking agents are examined. These are oxalic acid, citric acid, tartaric acid, 5-sulphosalicylic acid, 1,10-phenanethroline, sodium fluoride, ascorbic acid, EDTA and Na2HPO4. The results are shown in table 6 :

Table 6: effect of masking agents

| Cr(VI) conc. ppm | Masking agent (2)ml, [0.01]M | Absorbance |
| --- | --- | --- |
| 5 | Complex without any addition | 0.620 |
| 5 | Oxalic acid | 0.331 |
| 5 | Citric acid | 0.602 |
| 5 | tartaric acid | 0.224 |
| 5 | 5-sulphosalicylic acid | 0.625 |
| 5 | 1,10-phenanethroline | 0.185 |
| 5 | sodium fluoride | 0.589 |
| 5 | ascorbic acid | 0.164 |
| 5 | EDTA | 0.182 |
| 5 | Na2HPO4 | 0.617 |

From the result shown in the table 6 can concluded that oxalic acid, tartaric acid, 1,10-phenanethroline, ascorbic acid and EDTA caused masking for Cr(VI), while other masking agents have no or little effects on the absorbance of Cr(VI)–6–(MeBTAClP) complex.

References

- Othmer . K., "Encyclopedia of Chemical Technology" , John Wiley & Sons;        Newyork , 1981

- Boef . G ., W.Jong .,G.C.Krijin , and H.Poppe .,Anal.Chim .Acta., 1960, 23,557.

- Luciene . S.C.,A.C.S.Costa , S.L.C.Ferreira, and L.S.G.Texeirra , J.Braz.Soc., 2004, 15,1.

- Azhar . A.G.,M.Sc.Thesis, University of Babylon(2003).

- Revansiddapa.H.D.,and T.N.K.Kumar,Chem.Anal., 2002, 47,311.

- Zhao.Y,and G.Han ,Talanta., 1994, 41,1247.

- Fu-Sheing.W,Z.Yu-rui,Q.Pel-hau,Y.Fang, and S.Nai-kui, Mikrochim . Acta, 1982, 2,67.

- Texeirra. L. S. G., A. C. S. Costa, S. L. C. Ferreira, C. M. S. Carvalho, and , M. L. Freitas, J.Braz.Chem.Soc.,1999, 10, 519.

- Rathaiah.G.V,and M.C.Eshwar, Bull .Chem.Soc.Jpn, 1985, 58, 2447.

- Subrahmanyam.B.,and  M.C.Eshwar, Mikrochim.Acta, 1976, 11,579.

- S.I.Gusev, M.V.Zhvakina , and I.A.Kozhevnikov, Zh. Analit.Khim., 1971, 26 , 859.

- Jop,Ann.Chim., 1928, 9,113.

- A.E.Harvey,andD.L.Manning,J.Am.Chem.Soc., 1950, 72,4488.

- Marczenko.Z, "Spectrophotometric Determination of Element", John Wiley &Sons, Inc., Warsaw(1976).

- I. Salomi and A. Al-Daher, Iraqi J. Sci., 1983, 13, 2141.

- A.Z. Al-Rubaie, H.A. Al-Shirayda, P. Grenger and S. Chapelle, J. Organometal. Chem., 1985, 4,321.