Medical Journal of Babylon

Vol. 12- No. 4:1116 -1122 , 2015

http://www.medicaljb.com

ISSN 2312-6760©2015 University of Babylon

Original Research Article

Construction a Three-Dimensional Model Fetus From Devices Ultrasound  by Using Optical Scanning Hologram (Osh)

Aadnan Faleh Hassan1      Entidhar Jassim Al-Yasari2*

¹College of Science, University of Kufa, Kufa, Najaf, IRAQ

²College of Medicine, University of Babylon, Hilla, IRAQ

*E-mail: Intidher@yahoo.com

Accepted 7 September, 2015

Abstract

Photos of the fetus lacks the resulting devices ultrasound two-dimensional to the clarity and precision, leading to the emergence of  The need to provide three-dimensional vision of the fetus allows visualization of the width and height and angle, in order to obtain information additional disclosure of the fetus and fetal abnormalities. In this paper we explain the way we generate three-dimensional models of the fetus from two-dimensional images using a computer system without.  The need to change the two-dimensional imaging equipment, and without the need for a sensitive site. Depends on the way we pass the sensor on the belly Pregnant above the fetus and conduct a survey of the entire manual body of the fetus from the top of his head and his feet until the bottom, and the survey Keota video store, then  Send it to a computer is cut into several video images are stored and treated using the principles of digital image processing.The second simulation is build a program to implement the Optical scanning holography(OSH)technology,where the recorded hologram of original image using fast Fourier transform FFT2. High contrast images were used to demonstrate numerical reconstruction process by Matlab. Sine, cosin, and amplitude holograms were reconstructed .Can the doctor to get the most accurate details of the new image by changing the angle and view stereoscopic images to a specific part of the body of the fetus.

Key  words: Ultrasound, Optical Scanning Hologram ,imaging fetus

الخلاصة

ﺘﻔﺘﻘﺭ ﺼﻭﺭ ﺍﻟﺠﻨﻴﻥ ﺍﻟﻨﺎﺘﺠﺔ من ﺃﺠﻬﺯﺓ ﺍﻟﺘﺼﻭﻴﺭ ﺒﺎﻷﻤﻭﺍﺝ ﻓﻭﻕ ﺍﻟﺼﻭﺘﻴﺔ ﺜﻨﺎﺌﻴﺔ ﺍﻷﺒﻌﺎﺩ ﺇﻟﻰ ﺍﻟﻭﻀﻭﺡ ﻭﺍﻟﺩﻗﺔ , ﻤﻤﺎ ﻴﺅﺩﻱ الى ﺒﺭﻭﺯ ﺍﻟﺤﺎﺠﺔ ﻟﺘﻘﺩﻴﻡ ﺭﺅﻴﺔ ﺜﻼﺜﻴﺔ ﺍﻷﺒﻌﺎﺩ ﻟﻠﺠﻨﻴﻥ ﺘﺴﻤﺢ ﺒﺭﺅﻴﺔ ﺍﻟﻌﺭﺽ والارتفاع ﻭﺍﻟﺯﺍﻭﻴﺔ, ﻭﺫﻟﻙ من اجل الحصول على معلومات اضافية عن الجنين الكشف عن الشذوذ الجنيني.

يهدف البحث الى دراسة طريقة جديدة في توليد نماذج ثلاثية الأبعاد للجنين انطلاقاً من صور ثنائية الأبعاد باستخدام نظام حاسوبي دون الحاجة إلى تغيير تجهيزات التصوير ثنائية الإبعاد ودون الحاجة لحساس موقع. تعتمد طريقتنا على تمرير المجس على بطن الحامل فوق الجنين وإجراء مسح يدوي لكامل جسم الجنين من قمة رأسه وحتى أسفل قدميه , وتخزين المسح كمقطع فيديو, ثم ارساله الى الحاسوب يقوم بتقطيع الفيديو إلى عدة صور تخزن وتعالج باستخدام مبادئ معالجة الصورة الرقمية . ثانينا بناء نموذج محاكاة  بتنفيذ تقنية المسح البصري الهولوغرام  , حيث نسجل الصورة الاصلية  باستخدام التحويلات فورير السريع. استخدم تصور عالية التباين لإظهار عملية إعادة البناء العددي في برنامج الماتلاب لإظهار شرط ، جيب وأعيد بناء  cosin، والصور ثلاثية الأبعاد والسعة. يستطيع الطبيب الحصول على تفاصيل أدق للصورة الجديدة بتغيير الزاوية وعرض صور مجسمة لجزء محدد من جسم الجنين.

الكلمات المفتاحية :الموجات فوق الصوتية , المسح الضوئي ثلاثي الابعاد , صورة الجنين.

Introduction

Researchers have developed a technique for imaging the human body using lasers, which would grant doctors the opportunity to explore the way comic Member 3D, which was a revolution in the world of medicine. Technical help on photographing the human body and internal organs, the early detection of diseases and tumors.

In this paper holographic Imaging (Holography) of the achievements of modern science and technology,holographic technology (Holography) which possess unique property to return the original objects picture three dimensions with a very high degree. The word holgraivi is  derived from the Greek word origin holos (Halos which all) graphic any writing  the meaning the full picture or record art holographic.

An ultrasound Compute Tomography (CT) image is composed of pixels, whose bright correspond to the absorption of ultrasound in a thin rectangular slabs of the cross-section, which are call a ’’voxel’’ [1,3]. The Pixel Region tool provided by MATLAB R2010a superimpose the pixel region rectangle over the image display in the Image tool, defined the group of pixels that are displayed, in extreme close-up view, in the pixel region tool window. The pixel region tool show the pixel at high magnifications, overlay each pixel with its numeric value [1].Scanning three-dimensional imaging (OSH) is a technique that three-dimensional (3-D) object of visual information able to be obtain by two-dimensional (2-D) scan [2,3]. That is, not only the capacity but also the recording phase field light object during the process. And called on the severity of recording such information scanned optical three-dimensional [7].The object is illuminate by the interference pattern produced by the overlap of the two beams that coherent, which is scanned across the object. This contrasts with the traditional linear bond, which the reference beam and the object beam interfere with detection. This difference is the source of many exciting unique interesting of its kind for occupational safety and health characteristics. One advantage of occupational health and safety that are not available in the three-dimensional conventional techniques is that the light emitted from the object does not need to be consistent [2].

The aim of this research was to improve the two-dimensional images into three-dimensional images using OSH technology and then was then improve the image of the fetus to the three-dimensional image without into the need device four –Ultrasound.

Materials and Methods

Fresnel transformation method

Fresnel Holograph refer to the configurative where the objectsareona limited distancesas of the plane hologramand is off-axis with respects to reference wave plane[7] inreconstruction, lighting three-dimensional image with the results of refere  nceplanean other wave in the images formingin the position of the object and the position of the mirror with respect to its three-dimensional image, with unit magnification. This isusually the reconstruction of the numerical out using Fresnelcon version method, which is necessary for the recon struction from scratch every system and twin images without aliasing[7].

Sx,y:z=ik2πzexpi+ik2zx2+y2……1

WhereSx,y:z Fresnel diffraction, z is distance and k is the wave number of lightK=2πλ

And the reconstructed wave field is;

Ex,y;z=ik2πzexpikz+ik2zx2+y2

×∬E0x0,y0expik2zx02,y02

×exp−ik2zxx0,yy0dx0dy0

expik2zx2+y2ξE0,S……………2

WhereE0x0,y0 is the modify wave field, x0,y0of the point object. x,yandξE0,S  denote the spatial coordinates in the hologram and reconstruction plane, respectively

The resolution Δα of the reconstruct image determined directly from that can be represented as a function of diffraction Fresnel distanceZand reconstruction [5- 8] the equation:

Δα=λzNΔx0

N is the represented number of pixels ,Δx0is the represented width pixel of the camera CCD,

zmin  represented  a minimum distance condition set by eg.(4) (Schnars and Jueptner, 1994)[7].

Zmin=ax2nxλ……………4

Where ax=nxΔx  is represents  the size of the hologram, and nx,is the number Δxis the size of pixels, wave length of light. At a Very close, andthe spatialfrequencyof the three-dimensional image ofa very low aliasoccur. Typically, theminimum object distance outside this position. Camera (1024 × 1024 pixels) resolution (Δα = 0.213μm), (NA = 1.2).

Reconstruction Holography

This represents the reconstruction of sine-hologram, And it is expressed as a three-dimensional image of the hologram condition and term cosin of spatial frequency. then, we have [3,4,5].

icx,y=ℜ∫F−1F{Γ0x,y;z2}OTFΩkx,ky;zdz

= Hsinx,y………..5

isx,y;z=ℑ=Hcosx,y………6                                              WhereOTFΩkx,ky;zosh=exp−jz2k0kx2+ky2=OTFoshkx,ky;z..7

Indicates Im [.] imaginary part of the quantityin side the Re[.]arc, and reindicatesa realpart of the contentinside thearc, and visual function transfer, and transparencyamplitude ofΓ0x,y;zlocated on the Zdistance, F−1. Impulse responsespatial optical system of the image shows a three-dimensional condition and cosine, three-dimensional image. Since two shologram can be store digital, we can also build a three-dimensional digital image using acomplex equation[9,10,11,12].

Hc−+x,y=Hcosx,y±jHsinx,y                     ={∨Γox,y;z2∗ko2πzexp⁡±jko2πzx2+y2}dz……(8)

Hc−+x,y is called a complex FZP hologram ;Hcosx,y is the cosine- hologram, hologram, andHsinx,y is the sine hologram; the sine-hologram will be expressed in terms of spatial frequencies. To obtain real image reconstruction produced in front of the hologram, we will use the follow equation:

Hanyx,y∗hx,y;z0….9

WhereHanyx,y represents any holograms,that is, the sine-hologram, the cosine-hologram or the complex hologram.

Digital reconstruct, we will simply convolve the above hologram with the spatial impulse responded in order to simulated Fresnel diffraction for a distance of z0 To obtain real image, reconstruct is formed in front of the holograms, a planar object at a distance of z0 away from the x-y scanning mirrors, that is,

Γox,y;z2=Ix,yδz−z0

WhereIx,y is the planar intensity distribution.

Reconstructed real image is

HC+x,y=Hcosx,y+jHsinx,y….10

Note that the complex hologram is constructed as

# HC−x,y=Hcosx,y−jHsinx,y…..11

Figure 1:Image  of fetusultrasoundA foetal image obtained using ultrasound. The heart, spine and other features are clearly

Figure 2:original image

Figure 3:Sine –Fresnel zone pattern holography

Figure 4:Cosine –Fresnel zone pattern holography

Figure 5:Reconstruct of cos-hologrphy

Figure 6:Reconstruct of sin-Fresnel zone pattern holography

Figure 7:Reconstruction of real image complex FZP hologram.Hc+

Figure 8:Complex -Fresnel zone pattern holography Hc- of Reconstruct

Figure 9:Original image of three-dimension

Figure 10:Pixel Region

Results and Discussion

In figure (1)is entered into the program. The dimensions of this image reduced by using (Microsoft Office Picture Manager) Program. The resulted dimensions became (640x480 pixels).The selected images is  colored then converted to the difference colors scales. The program is  designed using (MATLAB 2010a) and set its steps in the flowchart (1). The figure(2) shows the original image in the difference colors scales. Then optical transfer function (OTF) of OSH is complex numbers consisted of (640 columns) and (480 rows).The recorded hologram of the original images using Fourier transform consists of two holograms.The first hologram is sine-FZP hologram, the real part, as shown in figure(3) and the second hologram  the cosine–FZP hologram, the imaginary part,as shown in figure(4).The sine and cosine the reconstruction image of parts are obtained by using the inverse Fourier transform as shown in figure(5) and figure(6)complex FZP respectively. The real image reconstruction of, Hologram Hc+ is shown in figure(6) represent quiet similar to the original images and restoration of imaginary complex FZP, Hologram  Hc− is shown in figure(7) embody the  negative of the original image. The figure(8) and figure(9) show original image of three-dimension figure(10) show pixel Region.In this research was to improve the two-dimensional images into three-dimensional images using OSH technology and then was then improve the image of the fetus to the three-dimensional image without into the need device four–Ultrasound.

Start OSH

Reading input image I

Displaying image size

Visualize original image in (pink or gray or summer) scale

For r=1:COLS

For c=1:ROWS

Ky=Ky+0.1

Kx=Kx+0.1

Sigma= z/2*Ko, rows=800,cols=600 Creating OTFOSH

Displaying the image ary part

cosin –FZP hologram

Displaying the image real part

sine –FZP hologram

Reconstruction hologram

Visualize cosin–FZP hologram

In (gray,summer,pink) scale

Visualize sine –FZP hologram

In (gray, summer,pink) scale

Recording hologram

Reconstruct of cosin-hologram

Reconstruction of sine-hologram

FI=fft2(I) Taking Fourier transform of I;

Visualize Reconstruction of complex FZP hologramhologram, Hc-

Visualize Reconstruction of

sine-hologram

FH=FI*OTFosh Recorded hologram in Fourier domain

Visualize Reconstruction of cosin-hologram

Imaginethe reconstruction ofthe true pictureof complexthree-dimensional imageof theFZP, HC

End

References

- T.-C. Poon, K. B. Doh, B. W. Schilling, M. H. Wu, K. Shinoda, and Y. Suzuki, ‘‘Three-dimensional microscopy by optical scanning holography,’’ Opt. Eng. 34, 1338–1344, 1995.

- K. B. Doh, T.-C. Poon, G. Indebetouw, "Twin-image noise in optical scanning holography," Optical Engineering, Vol 35, No. 6, pp. 1550 1555, 1996.

- K.Kim Myung ''Digital Holography Microscopy'' (Springer Science+Business Media), NO.2011931892, 2011.

- G. Indebetouw and T.-C. Poon, "Novel Approaches of Incoherent Image Processing With Emphasis on Scanning Methods," Optical Engineering, Vol 31, pp. 2159-2167, 1992.

- K. Doh, T.-C. Poon, M. H. Wu, K. Shinoda, and Y. Suzuki, Twin-Image Elimination in Optical Scanning Holography,Optics & Laser Technology, Vol. 28, pp. 135-141, 1996.

- K. B. Doh, T.-C. Poon, G. Indebetouw, "Twin-image noise in optical scanning holography," Optical Engineering, Vol 35, No. 6, pp. 1550 1555, (1996). T.-C. Poon, “Recent progress in optical scanning holography,”Journal of Holography and Speckle 1, 6-25, 2004.

- U. Schnars, T. M. Kreis, and W. P. O. Juptner, “Digital recording and numerical reconstruction

of holograms: Reduction of the spatial frequency spectrum,” Opt. Eng. 35, 977–982, 1996.

- R. J. Housden et al, “Sub-sample interpolation strategies for sensorless freehand 3D ultrasound”, University of Cambridge Department of Engineering Trumpington Street Cambridge CB2 1PZ,2006.

- R. J. Housden et al, “Hybrid system for reconstruction of freehand 3-d ultrasound data”, CUED/F-INFENG/TR 574, 2007.

- J. F. Krücker et al, “3D Compounding of BScan Ultrasound Images”, University of Michigan, Dept. of Radiology Zina PitcherPlace Ann Arbor, MI 48109, USA, 2000.

- P. W. Hsu et al, “Freehand 3D Ultrasound Calibration”, CUED/F-INFENG/TR 584,December 2007.

- L. Bibin et al, “Hybrid 3D pregnant woman and fetus modeling from medical imaging for dosimetry studies”, Int. J CARS DOI10.1007/s11548-009-0381-3, 8 June 2009.